LAB-SPECIFIC INFORMATION

for the Lab Safety Manual and Chemical Hygiene Plan

of Name/PI of Laboratory in Building and Room#

The University of South Carolina EH&S developed a general Lab Safety Manual and Chemical Hygiene Plan (LSM-CHP) that is accessible online. The OSHA Laboratory Standard, however, requires that every laboratory develop a lab-specific Chemical Hygiene Plan.  To satisfy this requirement, lab-specific information on hazards, risks, controls, emergency procedures, and others must be provided with the general plan. Include detailed information for your laboratory facility and operations by completing templates and forms within this document. Once completed, this document must be printed, kept in a binder, signed, and made accessible to lab personnel.  All lab personnel must review and understand the content of both the General LSM-CHP and the Lab-Specific Information for the general plan.

| Section | Description (Click hyperlinks to navigate to each section) |
| --- | --- |
| 1 | Contacts for emergencies and other incidents |
| 2 | Laboratory Emergency Procedures in case of a fire, chemical spills, chemical exposure, and personal injury |
| 3 | Hazard and Controls Inventory – list of chemical, biological, radioactive, physical and other hazards, and major controls identified and implemented |
| 4 | Safety Equipment Inventory and Maintenance Log – list of safety equipment present and maintained in the laboratory |
| 5 | Chemical Inventory – list of all chemicals (including gases and cryogens) stored and/or used in the laboratory, with all highly hazardous substances highlighted on the list |
| 6 | Standard Operating Procedures (SOPs) for highly hazardous chemicals, equipment, processes, and other tasks |
| 7 | Safety Data Sheets – location of printed SDS of highly hazardous substances and the primary and backup access SDS of all other chemicals in the laboratory |
| 8 | Safety Manuals, Brochures, others - operation manuals, information packets, booklets or brochures from manufacturers of equipment, chemicals, PPE and others |
| 9 | Building Emergency Evacuation and Reentry Plan – procedures for evacuation (and re-entry) in the event of emergencies that require building evacuation |
| 10 | Laboratory shutdown and re-start checklist – list of items to be completed when shutting down the laboratory for an extended period, and a list of items to complete when resuming laboratory operations after a shutdown |
| 11 | Training Documentation – certificates of completed trainings for all laboratory personnel including chemical and laboratory safety, hazardous waste, lab-specific training and other trainings required based on hazardous materials handled |
| 12 | Laboratory Self-Inspections – record of lab safety self-inspections conducted |
| 13 | Incident/Accident Reports – record of all accidents, incidents and near misses that occurred in the laboratory |
| 14 | Safety Posters, Signage, Labels, Checklists, others |
| 15 | Other Lab Safety Policies on PPE, minors in laboratories, laboratory and equipment decommissioning, waste disposal, field research safety |
| 16 | Resources – references on lab safety standards, regulations and guidelines |
| 17 | Laboratory Safety Manual and Chemical Hygiene Plan clearance form – signed by all laboratory personnel after reviewing the content of the general LSM-CHP and the Lab-specific Information |

### 1. PHONE NUMBERS FOR EMERGENCIES AND OTHER INCIDENTS

| Agency/Department/ Personnel |  | Phone Number | Type of Emergency |
| --- | --- | --- | --- |
| Emergency Dispatch USC Police Department | 911 from any phone (803) 777-4215 |  | Life-threatening emergencies such as fire, major spill, injury, medical events, others |
| Environmental Health & Safety (EH&S) | (803) 777-5269 8:00 AM - 4:30 PM |  | Non-emergency (non-life threatening and does not require immediate attention) chemical spill, chemical exposure, unsafe conditions |
| Department of Facilities | (803) 777-9675 24-hour phone number |  | Emergency and non-emergency facility repair requests |
| Student Health Services Center for Health and Well-Being 1401 Devine St. Columbia, SC 29208 | (803) 777-3175 Fall and Spring Semesters Monday – Friday: 8 AM - 5 PM Sunday: 2PM – 8 PM Summer Hours Mon – Fri: 8:30 AM - 4:30 PM Closed on University holidays |  | Medical treatment for USC students during normal work hours |
| Prisma Health Richland Hospital Emergency Room 5 Medical Park Rd, Columbia, SC 29203 | (803) 434-7000 |  | Emergency medical treatment for USC students and employees after normal work hours |
| Prisma Health Occupational Health Services 1301 Taylor St, Suite 2H Columbia, SC 29201 | 803-296-3500 Monday–Friday, 7:30 a.m.–4:30 p.m. (closed Thursday noon–1 p.m.) |  | Medical treatment of animal-related injuries for lab personnel working with animals during normal work hours |
| CompEndium Services | 877-709-2667 24/7 |  | To schedule treatment for USC employees’ work-related injuries |
| Your Department Safety Coordinator name | Your Department Safety Coordinator’s emergency phone number |  | All incidents that occur in laboratories within the Department |
| Principal Investigator | Principal Investigator’s emergency phone number |  | All incidents that occur in your laboratory |
| Your laboratory Group Safety Officer | Group Safety Officer’s emergency phone number |  | All incidents that occur in your laboratory |

### 1-A. EMERGENCIES AND BUILDING EVACUATION

When calling 911, provide the following information

- Your name and phone#

- Incident location: this address, building and room#

- Injured person, if any, specific injury and location; request ambulance if needed

- Hazardous materials involved, if known

- What happened; describe activities that caused the incident and your initial response

- Other relevant information that may help responders evaluate and stabilize the incident

- Other information asked

When you need to evacuate the building

Fire and other emergencies will require you to leave the building.  In case of a fire, always use the stairs, not the elevator!

- Pull the nearest fire alarm is in location.

- The building evacuation route is posted in location.

- If this primary route is not safe, the other way out is location.

- All lab staff are to meet at this location after exiting the building.

- Designated Coordinator, person’s name, will take attendance to ensure that everyone had safely evacuated.

- If you can provide information about the incident, proceed to the Incident Command on site. Look for an SUV with green strobe light flashing.

- Do not re-enter the building until the Incident Commander has declared that it is safe to return!

### 2.  Specific Laboratory Emergency Procedures

Download a template for developing laboratory-specific emergency procedures.  Describe in detail what to do in the event that an emergency such as fire, chemical release, chemical exposure, and others occur in the laboratory. Insert your lab emergency procedures in this section.

### 3.  Laboratory Hazards and Controls Inventory

- Identifying hazards and hazard awareness is the first critical step in developing an effective safety plan.  Every personnel working in a laboratory must be made aware of all hazards present and/or perceived in the laboratory.

- To create a Laboratory Hazards and Controls Inventory, The Principal Investigator and the Group Safety Officer collect all available information from experimental protocols, lab walk-through, and inventories to identify all hazards present in the laboratory.  Once the hazards are identified, all controls to mitigate risks of the identified hazards must be identified and implemented.  All major controls identified and implemented are to be listed in this inventory. Other details must be referred to in the written SOPs.

- Complete hazards and controls inventory for each lab room using the template below.

LOCATION: _______

| Category | Hazardous Material | Engineering Control | PPE (in addition to disposable gloves, safety glasses, lab coat) | SOP/ Work practice/ Special precautions/Safety equipment |
| --- | --- | --- | --- | --- |
| CHEMICAL (List all highly hazardous substances; if list is extensive, refer to Chemical Inventory) | Mercury | Fume hood | Disposable booties | Written SOP, mercury spill kit |
|  | Hydroflouric acid | HF Fume hood | Neoprene gloves Face shield Tyvek suit | Written SOP 2-person required 8AM-4PM only |
|  | Methanol (55-gal drum) | Solvent pump; grounding | Flame-resistant lab coat | Written SOP |
|  | Carcinogen | Fume hood |  | Designated bench |
|  | Cryogen |  | Cryogen gloves, Face shield | Written SOP |
|  | Flammable solid | Glove box | Flame-resistant lab coat | Class D extinguisher |
|  | Toxic gas | Gas cabinet Detection system |  | Written SOP |
| BIOLOGICAL (BSL-2 and above Agents) | Lentiviral vector | Biosafety cabinet | Latex gloves N95 respirator | IBC-approved protocol 3/25/14 |
| RADIOLOGICAL (Isotopes, Laser, X-ray) | 32P | Designated fume hood in Rm. 031 |  | Designated bench in Rm. 031 |
| EQUIPMENT posing physical hazards (cuts, pinches, crushes, exposed moving parts, etc.) | Lathe | Emergency stop |  | Written SOP 2-person required 8AM-4PM only |
| CONDITION/ACTIVITY posing other hazards (generate heat, pressure, fire, potential explosion, etc.) | Digestion of leaf samples using concentrated sulfuric acid | Fume hood |  | Sash kept closed During procedure |
| OTHER HAZARD (Hazards that are not classified into above categories) | Cold room | Emergency open from inside |  | No chemicals allowed |

### 4.  Safety Equipment Inventory AND MAINTENANCE LOGS

Identify the location of safety equipment in the lab. Print maintenance logs for emergency eyewash and safety shower to keep track of maintenance checks performed. Post current logs in the vicinity of the equipment. Keep old logs in this section.

| Equipment |  | Location (Room number and specific location such as SW corner, white cabinet, etc.) | Maintenance checks schedule |
| --- | --- | --- | --- |
| First-aid kit |  |  | Quarterly |
| Chemical spill kit |  |  | Quarterly |
| Fire Extinguisher |  |  | Monthly |
| Eyewash |  |  | Weekly flushing |
| Safety Shower |  |  | Weekly activation |
| Chemical fume hood |  |  | Annual |
| Biosafety cabinet |  |  | Annual |
| Biological spill kit |  |  | Quarterly |
| Personal protective equipment | Flame-resistant lab coat |  |  |
|  | Acid-resistant apron |  |  |
|  | Face shield |  |  |
|  | Laser goggles |  |  |
|  | Cryogen glove |  |  |
|  | Autoclave glove |  |  |
|  | Respirator |  |  |

### 5. Chemical Inventory

USC subscribes to Campus Optics inventory system to centrally manage chemical inventories of labs at the Columbia and School of Medicine campus. Principal Investigators should send names and email of their lab personnel to aroberge@mailbox.sc.edu to allow inventory access. Lab personnel should then attempt to login to Campus Optics. This will trigger the system to notify us of a failed attempt.  We will authorize you once we receive the PI and the system notifications.

If your inventory has not been uploaded to Campus optics, you have two options:

- Download the Excel template from the this webpage  and follow instructions on how to format the template for upload.  Send formatted Excel inventory to aroberge@mailbox.sc.edu. We will let you know when the file has been uploaded.  Update your chemical inventory in Campus optics as needed.

- You can manually add your lab inventory into Campus Optics directly.  This is advantageous if you have 100 or less items in your inventory.

### 6.  Standard Operating Procedures (SOPs)

The following is a summary guideline on when and how to write safety SOPs.  Write the SOPs as specific as possible to your laboratory and process so that your lab personnel and anyone who is not a member of your lab group (i.e. new lab personnel, emergency responder, EH&S) can use it effectively for process-specific safety training and emergency response.  An SOP should clearly identify the procedure, hazards, controls, emergency plan and the personnel authorized to handle/perform the procedures.

- If you use chemicals with GHS (Globally Harmonized System) hazard category rating of 1 and 2 or an NFPA hazard category rating of 3 and 4 for toxicity, flammability or reactivity, write a substance-based SOP.

- If an equipment poses particular hazards (cuts, crushes, has exposed rotating parts, generates hazardous substances (chemicals, dust, etc.), uses high voltage, high magnetic field, laser, etc.) an equipment-based SOP must be developed.

- If an experimental procedure, although not using any particularly hazardous substances or equipment can potentially develop physical hazards (pressure, high heat, glass shards, etc.), a process-based SOP must be developed.

- If an experimental procedure uses several different hazardous substances and/or equipment, you may decide to write one process-based SOP that addresses all the hazards involved.

- If an experimental procedure has complicated steps where special work practices and precautions must be observed, the written SOP must include the step-by-step experimental procedures.

- If an experimental procedure is conducted inside a confined space where a person goes inside while setting up, a written SOP for the confined space use must be developed.

- Each section of the SOP must contain brief statements but must also contain relevant details.  For example, it is not adequate to say “seek follow-up medical care”.  The SOP must say “proceed to Thompson Student Health Center at (address) for follow-up medical care”.  Another example, on the Circumstances of use section, it is not adequate to say “nitric acid will be used in digestion”.  SOP must say something similar to “50 ml concentrated nitric acid will be used to digest leaf samples at 200 deg. F.

- Use the SOP template available here.

- Print SOPs and insert in this section.

- SOPs must be signed by the Principal Investigator and all authorized users.

### 7. Safety Data Sheets

Two ways of accessing Safety Data Sheets (SDSs) must be established in the laboratory.  This is to ensure that a back-up source is available in case the primary access becomes unavailable.  In general, on-line and digital access to SDSs is acceptable if all lab personnel have access to a computer with internet when working in the laboratory.  However, printed safety data sheets of highly hazardous chemicals are required for emergency use. Visit the website of the supplier where the chemical was purchased from and print the SDS for the chemical. Safety Data Sheets that are over two years old must be discarded and replaced with the current version. In cases where a particular manufacturer’s SDS is lacking in GHS-required information, locate an SDS using another reputable manufacturer website.

Specify primary access and back up access to safety data sheets here.

For example:

- Printed copies of SDS of highly hazardous substances are 1) attached to the SOPs and 2) in a binder located on black bookshelf in Room 101

- Primary Access: Printed safety data sheets binder located on black bookshelf in Room 101

- Secondary access: pdf files of Safety Data sheets on shared lab computer folder named C:\Safety\SDS

- Another secondary access: SDS in the Campus Optics

- Alternate access: https://www.sigmaaldrich.com/safety-center.html - requires internet connection. Type chemical name or CAS number on the search field.

### 8.  Safety Manuals, BROCHURES, OTHERS

List in this section the physical and on-line location of safety and operation manuals, brochures and information packets for laboratory equipment, processes, PPE and other items used in the laboratory.

1.

2.

3.

### 9.  Building Emergency Evacuation and Re-entry Plan

Step by step procedure to follow when an emergency requires evacuation of the building. This plan describes evacuation procedures as well as procedures for re-entry once the building is cleared. Indicate in this section the location of a University or Departmental plan, if any.

### 10.  Laboratory SHUTDOWN and RE-START CHECKLIST

Create a checklist to refer to when the lab needs to shutdown for extended periods due to a hazardous material incident, natural disaster, holidays, etc.  Create a separate checklist to refer to when restarting the lab after a shutdown. For more information, visit lab preparedness.

### 11. Training Documentation

Keep copies of all training certificates to document completion of required training for all laboratory personnel.

Include the following as applicable:

- Chemical and Laboratory Safety – required for all lab personnel prior to starting work in the laboratory and after every 4 years. Available in-person only; keep certificates in the lab-specific LSM-CHP binder

- Hazardous Waste – required for all lab personnel prior to starting work in the laboratory and annually thereafter.  Initial training is in person while refresher training is on-line; keep certificates in the lab-specific LSM-CHP binder

- Biological Safety Level 2 - required prior to starting work in the laboratory and annually thereafter for personnel working in BSL-2 laboratories; keep certificates in the Biosafety binder

- Bloodborne Pathogens - required prior to starting work in the laboratory and annually thereafter for personnel working with human blood and other bodily fluids; keep certificates in the Biosafety binder

- Radiation Safety - required prior to starting work in the laboratory for personnel working with radioisotopes, lasers and x-rays; keep certificates in the Radiation Safety binder

- Chemical Hygiene Plan- Section 17 Chemical Hygiene Plan and Laboratory Safety Manual clearance form serves as the CHP training documentation

- Standard Operating Procedure - last section of written SOP serves as SOP training documentation; there is no need to duplicate in this section

- Laboratory-specific training - see Section 11-B for required topics and documentation.

- Compressed Gas Safety – prior to working with compressed gases; refresher should be completed as needed; keep certificates in the lab-specific LSM-CHP binder

- PPE Selection, Use, and Maintenance – on-line training; completion is documented in the Lab-specific training section of the Lab-specific LSM-CHP

- Managing your laboratory – online training for lab managers, group safety officers, and Principal Investigators; complete within 60 days of assuming the role; completion is documented in the Lab-specific training section of the Lab-specific LSM-CHP

### 11-A. Training STATUS OF LAB MEMBERS

| Name and Position | Date joined | Date left | Training Date |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Chem and Lab Safety | Hazardous Waste | Lab-specific Training | PPE | Compressed Gas Safety | Other |

### 11-B. LAB-SPECIFIC TRAINING DOCUMENTIon

HOW TO DEVELOP LAB-SPECIFIC TRAINING

Summary

The USC Lab Safety policy requires that all lab personnel must be made aware of all hazards in their laboratory and be trained on the procedures, safety equipment, and other resources available for safe handling of these hazards.

Lab-specific training must be: (1) documented and (2) provided to all lab personnel at the time of initial assignment and every time a new hazard is introduced in the lab.

How to Use this Template

Guidance text provided in gray should be modified and adapted to reflect information specific to your laboratory. The template below may be used to develop a lab-specific training curriculum and for documenting the training. After reviewing the training goals in the left-hand column, describe in the right-hand column how your lab fulfills these goals. As topic discussions are completed, trainer must initial corresponding column and include any comments. Once signed, attach this form to the Lab-specific Chemical Hygiene Plan and Lab Safety Manual as Lab Specific training documentation.

|  | Training Goal | How Lab Fulfills Training Goal | Trainer initial once completed and any comments |
| --- | --- | --- | --- |
| Training | Ensure completion of all required safety trainings before beginning lab work. The Principal Investigator may allow lab personnel who were provided Lab-specific training to start working in lab while waiting to attend the next available EH&S Chemical and Lab Safety training. | Identify required training for each new lab personnel. At the minimum should include completion of Chemical and Lab Safety, Hazardous Waste, Lab-Specific Training, Personal Protective Equipment. Additional safety training may be required depending on roles and hazards handled: Managing your Laboratory, Compressed Gas Safety, HF Safety, BSL-2, BBP, Radiation Safety (isotopes, laser, x-ray). NOTE: For minors who plan to work in the lab for 3 months or less and are under direct supervision of experienced lab personnel, the General Lab Safety can be waived. The PI or designee provides lab-specific training including all topics listed below. |  |
| Safety Roles | Know the health and safety responsibilities of the principal investigator, lab safety coordinator, and all group members. | Describe the process for addressing health and safety concerns in the lab. Include information on expectations for all lab members. Identify additional key personnel for the building and/or department such as the facilities manager, Safety Chair, EH&S, Human Resources, etc. |  |
| Safety Info | Know the content of the General and Lab-specific Lab Safety Manual-Chemical Hygiene plan. Know where to find the chemical inventory and safety data sheets (SDS), standard operating procedures (SOPs), equipment manuals. | Identify, show the location, and review the contents of safety documents. Focus on resources specific to lab facility and operations such as a lab-specific CHP, chemical inventory, SDSs, SOPs, equipment manuals, etc. |  |
| Lab-Specific Hazards | Know the specific hazards that exist in the lab and their corresponding controls, and which hazards are covered by existing SOPs. | Provide a basic overview of ALL hazards present in the lab and corresponding controls or alarms that lab members should be aware of. For example: toxic substances and fume hood, reactive materials and glove boxes, toxic gases and detection system, equipment and emergency stops, lasers and interlocks, biohazards and biosafety cabinet, etc. |  |
| Lab Operations | Know the Chemical Hygiene Plan SOP requirements and the lab’s process for developing and reviewing new SOPs. | USC Lab Safety Policy requires handling of certain substances, processes and equipment to have written SOPs (i.e. toxic chemicals, carcinogens, reproductive toxins, highly reactive materials, equipment and processes that pose serious physical hazards, others). Review the process by which these materials and equipment are identified and the procedure for writing, reviewing, and updating SOPs. Emphasize that written SOPs must be followed. |  |
|  | Know the lab’s chemical ordering, inventory, transport, storage, and disposal procedures. | Discuss chemical inventory, chemical storage areas/cabinets and segregation, chemical transport policy, hazardous waste storage area, how to identify compatible chemicals that may go together in a waste container, proper waste labeling and procedure for requesting waste pick-up. |  |
|  | Know what is required personal protective equipment (PPE) for working in the lab, including where lab-provided PPE is stored. | Discuss the USC PPE policy at http://www.sc.edu/ehs/factsheets.htm. If PPE is not always required in the lab, identify the areas, times, and/or situations when eye protection, proper lab attire, etc. are not necessary. Assign PPEs to each lab member and discuss their proper use, storage and maintenance. |  |
|  | Know the rules for being trained on and authorized to use the lab’s specialized equipment, e.g., centrifuge, autoclave, rotary evaporator, glove box, etc. | In most cases, each equipment should have a separate written SOP which can be used in conjunction with any user manuals as a training tool for that piece of equipment. List all equipment here. |  |
|  | Know the lab’s list of prudent practices or “Do’s and Don’ts”. | Discuss other safety guidelines and expectations. For example, what are the lab rules regarding propping open lab doors, food storage, break areas, working after hours, working alone, cleaning up after yourself, etc. |  |
| Emergency Equipment & Procedures | Know where to find safety equipment and how to activate and use them. | List safety equipment and their location (spill kit, fire extinguisher, emergency alarm boxes, emergency eyewash and shower, first aid kit, and bio spill kit (if any)). Show new lab personnel the equipment location during lab walkthrough. Discuss the procedure for activating and using each equipment. |  |
|  | Know the procedures for chemical exposure, chemical spill, fire, fume hood malfunction, and other emergencies. | Discuss the following: - what to do if splashed by chemicals or chemicals are spilled - what to do if a there’s a fire - what to do if fume hood stops working in the middle of handling volatile hazardous chemicals - equipment that need to be turned off before evacuating (heating plates, gases, vacuums, etc.), only if personal safety is not compromised - at least two evacuation routes out of the building and where to assemble after evacuation |  |
|  | Know the incident and injury reporting procedures. | Discuss - how to call 911 from any phone - how to contact the USC Police Department - how to contact Environmental Health & Safety - who to contact to obtain medical treatment after a work-related injury - how to prepare and submit incident reports |  |

LAB-SPECIFIC TRAINING OF LAB MEMBERS

STATEMENT OF CERTIFICATION

I certify with my signature that I completed the Lab-specific training provided by my Principal Investigator and/or a designated trainer on the date indicated below and according to the Lab-specific training described on the previous page of this document.

| Name and Position | VIP # | Training date | Name and signature of trainer | Initial by PI |
| --- | --- | --- | --- | --- |

Add pages as necessary.

### 12.  Laboratory Self-Inspections

Principal Investigators and Group Safety Officers are strongly encouraged to conduct periodic lab safety self-inspections.  Keep copies in this section, of reports of lab safety self-inspection conducted.

### 13.  Incident and Accident Reports

All accidents, incidents and near misses must be reported to EH&S.  EH&S conducts an investigation to determine the root cause, then assists lab personnel in identifying and implementing corrective actions to prevent future incidents. Insert in this section copies of written incident report of incidents/accidents in your laboratory.

### 14.  SAFETY POSTERS, SIGNAGES, Labels, Checklists, Others

List in this section, the physical and on-line location of posters, signages, labels, and checklists used in the laboratory.  These may include Hazard Information Notice, hazardous waste labels, HF safety sign, biohazard label, appliance label (No food or drink, no flammable),” for lab use only” label and others.

### 15.  Other Lab Safety Policies

List all lab-specific safety policies and guidelines not addressed elsewhere in this document.

15-1. Lab-specific safety policies and guidelines (example below)

- Unauthorized personnel, pets, and minors are not allowed to enter this laboratory

- Extended work hours must be approved by name of Principal Investigator

- …

15-2. University of South Carolina laboratory safety policies

- PPE

- Minors in Laboratories

- Laboratory and Equipment Decommissioning

- Waste Disposal

- Field Research Safety

### 16.  Resources

List all references that may be used to get additional information on lab safety standards, regulations and guidelines.

### Regulations and Standards

- OSHA’s Occupational Exposure to Hazardous Chemicals in Laboratories

- Globally Harmonized System of Classification and Labeling of Chemicals (GHS) [pdf]

- NFPA 45

- NFPA 55

- DEA Controlled Substances

- International Fire Code

- ANSI Standard for Emergency Showers and Eyewash

- ANSI Standard for First-Aid Kit

- ASHRAE 110

### Guidelines

- Prudent Practices in the Laboratory

- OSHA Laboratory Safety Guidance [pdf]

- NIOSH Pocket Guide to Chemical Hazards

- NIOSH School Chemistry Laboratory Safety Guide

- ACS Guidelines for Chemical Laboratory Safety in Academic Institutions [pdf]

- ACS Creating Safety Cultures in Academic Institutions [pdf]

- ACS Identifying and Evaluating Hazards in Research Laboratories [pdf]

- ACS Hazard Assessment in Research Laboratories

- OSHA Fact Sheet: The Importance of Root Cause Analysis During Incident Investigation [pdf]

- CDC Managing Health and Safety Concerns Associated with Engineered Nanomaterials

### 17.  Lab Safety Manual AND Chemical Hygiene PLAN Clearance Form

Laboratory Name:

Building and Room/s:

Principal Investigator:

Research Group Safety Officer:

Last Review Date: _______________________________________________________

Acknowledgement

The undersigned agree to the following statements:

“The contents of the general Laboratory Safety Manual and Chemical Hygiene Plan and the accompanying Lab-specific Information have been discussed with the personnel listed below. We certify that they are made aware of ALL hazards present in our laboratory, the controls that need to be implemented, the response procedures should an emergency occur, and all other safety information required to work safely in this laboratory”.

Title				Printed Name		Signature and Date

Principal Investigator:	____________	        __________________

Group Safety Officer:	____________	        __________________

“I have read and understand the contents of the general Laboratory Safety Manual and Chemical Hygiene Plan and the accompanying Lab-specific Information.  I am aware of ALL the hazards present in our laboratory, the controls that need to be implemented, the response procedures should an emergency occur, and all other safety information required to work safely in this laboratory. I hereby acknowledge that I will comply with all the requirements, policies and work practices described in this plan”.

Printed Name		  	   Position                               Signature and Date

1.  ________________	      _________________               ___________________

2.  ________________	      _________________               ___________________

3.  ________________	      _________________               ___________________

4.  ________________	      _________________               ___________________

5.  ________________	      _________________               ___________________

6.  ________________	      _________________               ___________________

Insert additional copies of this page as needed.

Printed Name			    Position                               Signature and Date

7.  ________________	       _________________               ___________________

8.  ________________	       _________________               ___________________

9.  ________________	       _________________               ___________________

10.  ________________      _________________               ___________________

11.  ________________      _________________               ___________________

12.  ________________      _________________               ___________________

13.  ________________      _________________               ___________________

14.  ________________      _________________               ___________________

15.  ________________      _________________               ___________________