UofSC Laboratory Safety Manual and Chemical Hygiene Plan    (UofSC LSM-CHP)

CONTACTS FOR EMERGENCIES AND OTHER INCIDENTS

| Agency/Department/ Personnel | Phone Number | Type of Incident |
| --- | --- | --- |
| Emergency Dispatch UofSC Police Department | 911 from any phone (803) 777-4215 | Medical and other life-threatening emergencies such as fire, major spill, injury, others |
| Environmental Health & Safety (EH&S) | (803) 777-5269 8:00 AM - 4:30 PM | Non-emergency (non-life threatening and does not require immediate attention) chemical spill, chemical exposure, unsafe conditions |
| Department of Facilities | (803) 777-9675 24-hour phone number | Emergency and non-emergency facility repair requests |
| Student Health Services Center for Health and Well-Being 1401 Devine St. Columbia, SC 29208 | (803) 777-3175 Fall and Spring Semesters Monday – Friday: 8 AM - 5 PM Sunday: 2PM – 8 PM Summer Hours Monday – Friday: 8:30 AM - 4:30 PM Closed on University holidays | Medical treatment for UofSC Columbia students and employees during normal work hours |
| Prisma Health Richland Hospital Emergency Room 5 Medical Park Rd, Columbia, SC 29203 | (803) 434-7000 | Emergency medical treatment for UofSC Columbia students and employees after normal office hours |
| Prisma Health Occupational Health Services 1301 Taylor St, Suite 2H Columbia, SC 29201 | 803-296-3500 Monday–Friday, 7:30 a.m.–4:30 p.m. (closed Thursday noon–1 p.m.) | For lab workers working with animals - medical treatment for animal-related injuries during normal office hours |
| CompEndium Services | 877-709-2667 24/7 | To schedule treatment for all work-related injuries of UofSC employees |
| Your Department Safety Coordinator name | Your Department Safety Coordinator’s emergency phone number | All incidents that occur in laboratories within the Department |
| Principal Investigator | Principal Investigator’s emergency phone number | All incidents that occur in your laboratory |
| Your laboratory Group Safety Officer | Group Safety Officer’s emergency phone number | All incidents that occur in your laboratory |

When calling 911, provide the following information

- Your name and phone#

- Incident location: this address, building and room#

- Injured person, if any, specific injury and location; request ambulance if needed

- Hazardous materials involved, if known

- What happened; describe activities that caused the incident and your initial response

- Other relevant information that may help responders evaluate and stabilize the incident

- Other information asked

When you need to evacuate the building

Fire and other emergencies will require you to leave the building.  In case of a fire, always use the stairs, not the elevator!

- Pull the nearest fire alarm is in location.

- The building evacuation route is posted in location.

- If this primary route is not safe, the other way out is location.

- All lab staff are to meet at this location after exiting the building.

- Designated Coordinator, person’s name, will take attendance to ensure that everyone had safely evacuated.

- If you can provide information about the incident, proceed to the Incident Command on site. Look for an SUV with green strobe light flashing.

- Do not re-enter the building until the Incident Commander has declared that it is safe to return!

LAB-SPECIFIC INFORMATION

for the UofSC Lab Safety Manual Chemical Hygiene Plan

of Name/PI of Laboratory in Building and Room#

The University of South Carolina EH&S developed a general Lab Safety Manual and Chemical Hygiene Plan (LSM-CHP) that is online accessible. The OSHA Laboratory Standard, however, requires that every laboratory develop a lab-specific Chemical Hygiene Plan.  To satisfy this requirement, various lab-specific information must be provided using available templates within this document. Include information and details specific to your laboratory facility and laboratory operations. This information must be printed, kept in a binder, and made accessible to all lab personnel.  All lab personnel must review and understand the content of both the general CHP-LSM and the Lab-Specific Information for the CHP-LSM.

| Section | Description (Click hyperlinks to navigate to each section) |
| --- | --- |
| 1 | Contacts for emergencies and other incidents |
| 2 | Laboratory Emergency Procedures in case of a fire, chemical spills, chemical exposure, and personal injury |
| 3 | Hazard and Controls Inventory – list of chemical, biological, radioactive, physical and other hazards, and major controls identified and implemented |
| 4 | Safety Equipment Inventory and Maintenance Log – list of safety equipment present and maintained in the laboratory |
| 5 | Chemical Inventory – list of all chemicals (including gases and cryogens) stored and/or used in the laboratory, with all highly hazardous substances highlighted on the list |
| 6 | Standard Operating Procedures (SOPs) for highly hazardous chemicals, equipment, processes, and other tasks |
| 7 | Safety Data Sheets – location of printed SDS of highly hazardous substances and the primary and backup access SDS of all other chemicals in the laboratory |
| 8 | Safety Manuals, Brochures, others - operation manuals, information packets, booklets or brochures from manufacturers of equipment, chemicals, PPE and others |
| 9 | Building Emergency Evacuation and Reentry Plan – procedures for evacuation (and re-entry) in the event of emergencies that require building evacuation |
| 10 | Laboratory shutdown and re-start checklist – list of items to be completed when shutting down the laboratory for an extended period, and a list of items to complete when resuming laboratory operations after a shutdown |
| 11 | Laboratory Safety Manual and Chemical Hygiene Plan clearance form – signed by all laboratory personnel after reviewing the content of the general CHP-LSM and the Lab-specific Information for the CHP-LSM |
| 12 | Training Documentation – certificates of completed trainings for all laboratory personnel including chemical and laboratory safety, hazardous waste, lab-specific training and other trainings required based on hazardous materials handled |
| 13 | Laboratory Self-Inspections – record of lab safety self-inspections conducted |
| 14 | Incident/Accident Reports – record of all accidents, incidents and near misses that occurred in the laboratory |
| 15 | Safety Posters, Signage, Labels, Checklists, others |
| 16 | Other Lab Safety Policies on PPE, minors in laboratories, laboratory and equipment decommissioning, waste disposal, field research safety |
| 17 | Resources – references on lab safety standards, regulations and guidelines |

Table of Contents

Page

CONTACTS FOR EMERGENCIES AND OTHER INCIDENTS                     2

Lab-specific Information for the UofSC LSM-CHP                                3

Chapter 1. SAFETY AND COMPLIANCE IN THE LABORATORY	10

Policy	10

Purpose	11

Personnel and Activities Covered by this Plan	11

Chapter 2. ROLES AND RESPONSIBILITIES	11

Department Chair	11

Department Safety Coordinator	12

Supervisors	12

Group Safety Officer	13

Laboratory Personnel	14

Environmental Health and Safety	15

Center for Health and Well-Being	16

Chapter 3. MANAGING A LABORATORY	17

Multiple laboratory Rooms	17

Shared Spaces	18

Chapter 4. CORE PRINCIPLES OF SAFETY PLANNING	19

Recognizing Hazards in Laboratories	19

Assessing Risks	20

Controlling Risks	24

Preparing for Emergencies	27

CHAPTER 5. LAB ACCESS AND SECURITY	29

Authorized Personnel Only	29

Working Outside of Normal Business Hours	29

Animals in Laboratories	29

Minors in Laboratories	29

CHAPTER 6. SAFETY DOCUMENTS AND SIGNAGE	32

Hazard Notice	32

Lab Safety Manual and Chemical Hygiene Plan	33

Chemical Inventory	34

Safety Data Sheets	35

Standard Operating Procedures	37

Training Documentation	40

Designated Areas	40

Unattended Operations	41

Emergency Procedures	41

Chapter 7. SAFETY TRAINING	42

Required Safety Trainings	42

EH&S Training	42

Lab-specific Training	43

Chapter 8. LAB VENTILATION AND FUME HOODS	45

Fume Hood Certification and Maintenance	46

Chapter 9. PERSONAL PROTECTIVE EQUIPMENT	47

Exposure to Chemicals	47

Personal Protection from Hazards	49

PPE Policy	53

Chapter 10. GENERAL LAB SAFETY	56

Prior to Working in the Lab and Prior to Handling Hazardous Materials	56

Prudent Practices and Universal Precautions	56

Unattended Operations	58

Housekeeping	58

Chapter 11. GENERAL GUIDELINES FOR SAFE HANDLING OF CHEMICALS	59

Use of Fume Hood and Other Ventilated Enclosures	59

Maintaining an Accurate Chemical Inventory	59

COntainer Labeling	59

Proper Storage	60

Transporting Chemicals	68

Shipping Hazardous Chemicals	69

Chapter 12. CHEMICAL HAZARDS	70

COMING SOON	70

Chapter 13. COMPRESSED GASES	70

Check our webpage	70

Chapter 14. PHYSICAL HAZARDS	70

COMING SOON	70

Chapter 15. HIGHLY HAZARDOUS CHEMICALS, EQUIPMENT AND PROCESSES (HCCPs)	71

Criteria for Determining HCCPs	71

Prior Approval for Work with HCCPs	71

Chapter 15. MANAGING LAB WASTE	73

Hazardous Waste Disposal	73

Policy for Minimizing Hazardous Wastes and Unknowns	76

Chapter 16. EMERGENCY RESPONSE AND LAB PREPAREDNESS	82

Emergency Procedures	82

Safety Equipment and Maintenance Checks	87

Post-exposure Treatment and Follow-up	92

Lab Preparedness	92

CHAPTER 17. ACCIDENT AND NEAR MISS REPORTING	95

Chapter 18. OTHER LAB SAFETY POLICIES AND GUIDELINES	98

Facility Installations, Repairs and Modifications	98

Field Research Safety	98

Chapter 19. SELF-INSPECTION SAFETY Checklist	102

General Safety	102

Facilities	102

Hazards and Controls	102

Documentation and Signage	103

Training	103

Emergency Preparedness and REsponse	103

Fire Safety	103

Basic Chemical Safety	104

Work Practice and Hygiene	104

Safety Equipment	105

Electrical	105

General Chemical Handling	105

Chemical Fume hood	106

Highly Hazardous Chemicals	107

REFERENCES AND GLOSSARY	111

# Chapter 1. SAFETY AND COMPLIANCE IN THE LABORATORY

## Policy

The University of South Carolina is committed to providing a safe laboratory workplace for its students, faculty, staff, and visitors.  Safety in the laboratory remains one of the top priorities of the University as it endeavors to effectively fulfill its research, education and outreach missions.

Safety and compliance are necessary goals for every individual who works or visits our laboratories. We strive for zero accident in our workplace.  As much as safety is a goal, it is also a continuous process of identifying hazards, assessing risks, implementing controls and planning for emergencies.  It is a collaborative process among our university Leaders, Environmental Health and Safety, Academic/Research Department, Principal Investigator, Lab Manager and laboratory personnel.  We advocate for collaborative partnerships to fulfill our safety and compliance goal in our laboratories.

It is the policy of the University of South Carolina to provide a safe laboratory workplace that is also compliant with current laboratory safety regulations, standards and guidelines including but not limited to:

- Chemical Facility Anti-Terrorism Standards (CFATS) for Universities

- OSHA’s Occupational Exposure to Hazardous Chemicals in Laboratories

- Globally Harmonized System of Classification and Labeling of Chemicals (GHS) [pdf]

- NFPA 45 and NFPA 55

- International Fire Code

- ANSI Standard for Emergency Showers and Eyewash

- ANSI Standard for First-Aid Kit

- ASHRAE 110

- ACS Guidelines for Chemical Laboratory Safety in Academic Institutions [pdf]

- ACS Creating Safety Cultures in Academic Institutions [pdf]

- OSHA Fact Sheet: The Importance of Root Cause Analysis During Incident Investigation [pdf]

## Purpose

This document constitutes the Laboratory Safety Manual and Chemical Hygiene Plan (the latter required by the OSHA Laboratory Standard). The purpose of this Plan is to provide written safety and compliance guidance for all personnel working with hazardous materials, equipment, processes, and other tasks in UofSC laboratories. This Plan describes roles and responsibilities, policies, guidelines and practices to be followed to ensure safety and compliance in our laboratories.

## Personnel and Activities Covered by this Plan

This Laboratory Safety Manual and Chemical Hygiene Plan apply to all work involving hazardous substances, equipment, processes and tasks performed in UofSC research and teaching laboratories. All personnel including Faculty, Principal Investigators, staff, and students working in a UofSC laboratory are required to follow the provisions of this Plan.

# Chapter 2. ROLES AND RESPONSIBILITIES

## Department Chair

The Department Chair has the responsibility and authority to implement University health and safety policies.  The Department Chair has the following specific responsibilities:

- Enforce laboratory safety regulations, standards and guidelines within the Department

- Designate a Department Safety Coordinator

- Review and grant pre-approval for minors to participate in laboratory activities

- Consult with EH&S in evaluating facility requirements of potential research faculty hires

- Consult with EH&S in evaluating the suitability of new laboratory construction or renovations for research work of Faculty assigned to the space

- Ensure that new Faculty hires communicate and work with EH&S during new laboratory start-up

- Ensure that Faculty leaving the University consult and work with EH&S to close out their assigned laboratory

## Department Safety Coordinator

Appointed by the Department Chair, the Department Safety Coordinator responsibilities include those assigned by the Chair and the following:

- Serve as liaison between the Department and EH&S by communicating safety policies to Faculty and Staff and reporting to EH&S and UofSC Chemical Safety Committee all Departmental laboratory incidents and safety concerns

- Serve as a member of the Chemical Safety Committee and/or attend committee meetings upon request

## Supervisors

The Supervisors include Principal Investigators, Teaching Instructors and Facility Managers in charge of laboratory operations. The Supervisors’ duties are:

- Develop and maintain a lab-specific Laboratory Safety Manual and Chemical Hygiene Plan, instruct all lab members to conduct work in accordance with the Plan, and ensure the Plan is accessible to lab members during work hours

- Establish and enforce lab-specific safety policies and procedures in accordance with existing University, State or Federal regulations, and standards and guidelines endorsed by various safety organizations

- Define responsibilities of, and appoint a safety officer for the research group, also known as Group Safety Officer

- Provide lab-specific and procedure-specific safety trainings to lab members, ensure that they receive EH&S safety trainings and keep documentation of completed trainings for each lab member

- Monitor safety performance of lab members and provide guidance and instructions as needed (i.e., take action to correct work practices and conditions that may result in the release of or exposure to hazardous materials, instruct laboratory personnel to properly dispose of unwanted and/or hazardous chemicals)

- Define designated areas and restrict access to areas used for work with highly hazardous chemicals, equipment and processes

- Collaborate with EH&S in identifying hazards, assessing risks, and identifying, then implementing controls to reduce risks in their lab

- Review and approve Standard Operating Procedures (SOPs) for work with highly hazardous chemicals, equipment and processes

- Provide lab members with required personal protective equipment (PPE) necessary for the safe performance all hazardous tasks

- When potential exposure is suspected, contact EH&S and arrange for workplace air samples, swipes, or other tests to determine the amount and nature of airborne and/or surface contamination, inform employees of the results, and use data to evaluate and mitigate exposure risk

- Refer employees needing medical surveillance for potential exposures to the Center for Health and Well-Being

- Assist EH&S personnel in performing lab safety inspections, and submit and implement corrective action plans for deficiencies identified during inspections

- Report lab incidents to EH&S by filing a lab incident form, participate in incident investigations, and develop then implement corrective action to prevent future incidents

- Ensure that an accurate inventory of all chemicals stored and used in the laboratory is developed and maintained

- Ensure lab members are provided ready access at all times to safety data sheets (SDS) of all chemicals in use and/or stored in the laboratory

- Arrange for non-laboratory personnel (e.g., contractors and support personnel) to be informed of hazards they may be exposed to when accessing the laboratory, and provide instruction to minimize the risk of exposure to these materials

- Collaborate with EH&S in implementing lab safety policies and guidelines when establishing a new laboratory, decommissioning an existing laboratory and/or accepting volunteers of minor age to participate in laboratory activities

- Contact EH&S and provide the following information if going on an extended leave of >1 month and/or sabbatical: anticipated start date & end date, designated lab supervisor with contact info, and most effective method(s) for communication with PI during leave time

## Group Safety Officer

Designated by the laboratory Supervisor, the Group Safety Officer is responsible for evaluating and making recommendations on lab-specific safety issues and all other responsibilities delegated by the Supervisor. Specific responsibilities are:

- Participate in periodic safety inspections and walkthroughs of their laboratory as requested by EH&S

- Assist their Supervisor in training new lab member

- Disseminate safety information to lab members

- Conduct laboratory self-inspections

- Inspect, maintain, coordinate and/or request repair and maintenance of safety equipment such as chemical spill kit, biological spill kit, first-aid kit, fire extinguisher, emergency shower and eyewash

- Annual review and update of the Laboratory Safety Manual and Chemical Hygiene Plan

- Maintain an accurate chemical inventory

- Report to the Supervisor all lab incidents including those resulting in injury or illness, fire, and spills or releases of hazardous substances as well as near miss (incidents that could have but did not result to actual injury or property loss)

## Laboratory Personnel

Laboratory personnel are University employees and non-employees working in a laboratory such as professors, lecturers, teaching assistants, graduate assistants, undergraduate students, graduate students, postdoctoral associates, visiting scientists, approved minors, and others.

All laboratory personnel are required to follow the procedures outlined in the Laboratory Safety Manual and Chemical Hygiene Plan, and all Standard Operating Procedures developed under this plan. One or more of the following responsibilities apply depending on the lab personnel’s position or designation in the laboratory group:

- Complete all required safety trainings prior to commencing work in the laboratory

- Understand and follow all safety practices, policies and regulations of the UofSC and all other governing entities

- Understand the function and proper use and maintenance of personal protective equipment and wear appropriate personal protective equipment at all times when working with hazardous chemicals, equipment and processes

- Report in writing to the Supervisor, any significant problems arising from the implementation of written Standard Operating Procedures

- Report to the Supervisor and/or EH&S any current or developing conditions or activity that are immediately dangerous to life and health so they can be addressed immediately

- Report to the Supervisor, Group Safety Officer, EH&S all near misses - any action or condition that exists and could result in an accident

- Report to the EH&S and other investigating authorities all facts surrounding incidents that occur in the laboratory

## Environmental Health and Safety

Environmental Health and Safety (EH&S) is the administrative division of the UofSC responsible for monitoring safety and compliance in research and teaching laboratories.  EH&S provides guidance and oversight for safe handling of chemicals, radiological materials, and biological agents, equipment and a wide range of physical hazards that may be present in laboratories. EH&S responsibilities are:

- Review and approve the use of radiological materials according to the UofSC license requirements by SC-DHEC, an agreement state of the Nuclear Regulatory Agency

- Review and approve through the Institutional Biosafety Committee, research protocols for the use of biological agents

- Review Standard Operating Procedures for use of highly hazardous substances, equipment and processes

- Review research building construction and/or laboratory room renovation plans and ensure that the plans meet current safety regulations, standards and guidelines

- Review proposed research activities for minor volunteers according to the UofSC Minors in Laboratories policy;

- Assist lab personnel in identifying hazards, assessing risks and identifying controls to mitigate risks

- Perform periodic safety inspections and facilitate corrections of observed deficiencies

- Assist new Faculty hires in setting up laboratories that meet current safety regulations, standards and guidelines

- Facilitate disposal of hazardous wastes and other unwanted hazardous materials during lab clean-up or when laboratories are closed-out

- Investigate incidents in laboratories, identify root causes and assist lab personnel in developing and implementing corrective action plans

- Issue “stop operations” order for laboratories where serious conditions that are immediately dangerous to life and health exist

- Provide guidance on various day-to-day safety questions and concerns from laboratory personnel

- Provide general safety trainings addressing safe handling of chemicals, biological agents and radiological materials

- Monitor and provide support for laboratories in maintaining a current chemical inventory

## Center for Health and Well-Being

The Center for Health and Well-Being provides medical care for UofSC students and employees during regular work hours.  The facility is open Monday-Thursday 8 AM - 6 PM, Friday 9 AM – 5 PM and Sunday from 2-8 PM during the Fall and Spring Semesters.  Summer hours are Monday-Friday 8:30 AM to 4:30 PM.

# Chapter 3. MANAGING A LABORATORY

## Multiple laboratory Rooms

The success of keeping the health and safety of lab workers is dependent on the commitment of all stakeholders in developing, enforcing and following rules and best practices.  The Principal Investigator, having an assigned research space has the authority and responsibility to manage that space and the personnel who works in that space.

Managing a laboratory has many challenges arising from the physical size of the space, the diversity of research, and the number and diversity of research personnel.   The following recommendations would facilitate personnel safety and compliance in an assigned lab space:

- Demonstrate your commitment to safety - Include safety in your lab meeting agenda, one-on-one discussions, planning of experiments, etc.; conduct regular and frequent walk through your lab and use this as an opportunity to reinforce safety as a high priority; Wear appropriate proper personal protective equipment (PPE) while in the lab; Enforce rules, updating them when new hazards are introduced

- Delegate safety responsibilities and authority to enforce rules to designated Group Safety Officer; communicate this information to the rest of the research group members; transition outgoing and incoming Group Safety officer over a 6-month period

- Formalize onboarding and departure procedure - Create a system to keep track of all required trainings including EH&S and lab-specific trainings; ensure new researchers are supervised while learning new procedures until they are equipped to work independently; Create a departure checklist for departing staff and students to ensure that their samples and chemical containers are properly labeled and all wastes and unwanted materials are properly disposed of

- Monitor lab spaces regularly and frequently - Perform quarterly laboratory self-inspections; rotate self-inspections through all lab members; require a formal lab inspection report that includes deficiencies and corrective actions; require that corrective actions are implemented by all research group members.

## Shared Spaces

Shared research and teaching spaces are usually encouraged to make efficient use of resources in many research and academic departments at UofSC.  Shared spaces include core facilities, equipment rooms, cold rooms, dark rooms, microscopy rooms, animal rooms, growth chambers, and others.  Sometimes, an equipment that is located in a Principal Investigator’s assigned room may be shared by users outside the PI’s research group.  Often, it is not clear who is primarily responsible for maintaining safety and compliance in the shared space.  When hazardous chemicals, biological and radioactive materials are involved, serious safety issues arise such as contaminated work areas, contaminated equipment, unlabeled chemical containers, unlabeled samples, improperly stored wastes, clutter, and poor housekeeping.  Undetected and uncontrolled contamination can cause harmful exposures to users of shared rooms and shared equipment.  Improper labelling or waste storage are serious non-compliances to state and federal regulations.

To maintain safety and compliance in shared spaces, there must be a designated competent individual, a lab manager, who will be responsible for managing the shared space and/or equipment.  An assistant lab manager should be appointed so that management of the space continues in the absence of the lab manager.  The lab manager will develop, implement, and enforce procedures for access and lab safety guidelines to address housekeeping, contamination, and waste issues.  Some of the basic guidelines that can be implemented include:

- Mechanism to sign up to use room or equipment

- Card access or keys to the shared room granted only to authorized users; the room always locked when no one is inside

- Requirement to complete safety and equipment use training before getting authorization to use room and equipment

- Requirement to label all items brought into the space with the owner’s name

- Requirement to follow clean-up and decontamination procedure before leaving the shared space

- Requirement that each user have their own chemical, biological or radioactive waste container, each labeled in designated areas

- When conducting radioactive material procedure, the room must be posted in accordance with the PIs’ authorizations and unsecured material under the direct control of the radiation worker.

- Weekly lab clean-up

- Monthly self-inspections

# Chapter 4. CORE PRINCIPLES OF SAFETY PLANNING

## Recognizing Hazards in Laboratories

The first critical step in safety planning is recognizing the existence of hazards, A hazard is any material, condition, or activity that may cause damage or harm to a person’s health, to university property, and to the environment. A flammable chemical, a centrifuge, a hot surface, and mixing of chemicals are examples of hazards. Every hazard carries with it a risk or risks, which then must be assessed and mitigated by control measures.  Uncontrolled hazards (risks) will result in personnel injury or illness, loss of property or damage to the environment.

Hazards of chemicals and equipment are communicated through words and pictograms on labels, through safety data sheets, equipment operation manuals and the literature.  There are two main hazard communication system that are used to communicate hazards of chemicals: National Fire Protection Association (NFPA) diamond system and Globally Harmonized system of Classification and Labeling of Chemicals (GHS).

Common hazards in a laboratory can be classified into four main categories: health, physical, environmental and work conditions.

Health – chemical, biological or radioactive agents that affects human health through inhalation, ingestion, mucous membrane and skin absorption. i.e., toxic, carcinogenic, teratogenic, mutagenic, reproductive toxins, sensitizing, asphyxiant, pathogenic bacteria, virus, ionizing radiation.

Physical – chemicals, equipment and process based hazards that can cause destruction of human bones and tissues, i.e., chemicals that are corrosive, pyrophoric, explosive, flammable, oxidizing, self-reactive or unstable; nonionizing radiation, high pressure, low pressure, electrical, uneven surfaces, pinch points, suspended weight, hot surfaces, extreme cold, steam, noise, vibration, falling objects and projectiles, clutter, magnetic fields, simple asphyxiant, oxygen-deficient spaces, ultraviolent radiation, laser light, repetitive pipetting, glassware and other sharp objects, centrifuging.

Environmental – chemical, biological or radioactive agents that, when released, negatively impacts the soil, groundwater, air and/or ecological environment, i.e. PCBs, benzene, genetically modified organisms, invasive species, isotopes.

Work Conditions – less than ideal conditions that may contribute to increased potential for other hazards to cause injury, i.e., long work hours, counter-intuitive equipment design, unreliable or sudden loss of electricity, water or ventilation, improperly maintained equipment, limited visibility, improperly selected or improperly fitting personal protective equipment.

## Assessing Risks

Once hazards are recognized, risks associated with the hazards need to be identified.  The risks are then rated using the probability of occurrence and severity of consequence scales. The overall risk is calculated as the product of the two ratings assuming that there are no control measures in place.  Essentially, the risk rating is a measure of how likely and severe the damage will be if nothing is done about the hazard. If the risk is high, control measures must be identified to mitigate the risk and reduce it to an acceptable level.

The following is an excerpt from the ACS framework for calculating risks:

The framework allows users to develop a linear scale for the probability of occurrence (the likelihood that the identified risk would occur), and a weighted scale for the severity of consequences (the impact of an identified risk to safety, resources, work performance, property, and/or reputation). The use of weighted scale for severity of consequences gives a more realistic value to the impact of the hazard on personnel safety and property damage among other criteria.  It allows users, for example, to give more weight to the risk of death vs. risk of skin burn due to exposure to a hazardous chemical. The calculated risk is obtained by multiplying the probability of occurrence and the severity of consequences.  The higher the probability of occurrence and the more severe the consequence is, the higher the calculated risk will be.  Although ratings are assigned arbitrarily, the framework provides a way to calculate risks associated with various hazardous material or activity.

Table 1. Risk value based on likelihood of occurrence.

| Value | Percent Likely to Occur | Description |
| --- | --- | --- |
| 0 | 0 | Item/operation not present in the lab |
| 1 | 1-10 | Rare |
| 2 | 10-50 | Possible |
| 3 | 50-90 | Likely |
| 4 | 90-100 | Almost certain to Certain |

Table 2. Risk value based on impact on personnel, property, resources, work performance and reputation.

| Severity of Consequence | Impact on |
| --- | --- |
| Value | Rating | Personnel Safety | Resources | Work Performance | Property Damage | Reputation |
| 1 | No Risk | No injuries | No impact | No delays | Minor | No impact |
| 5 | Minor | Minor injuries | Moderate impact | Modest delays | Moderate | Potential damage |
| 10 | Moderate | Moderate to life impacting injuries | Additional resources required | Significant delays | Substantial | Damaged |
| 20 | High | Life threatening injuries from single exposure | Institutional resources required | Major operational disruptions | Severe | Loss of confidence |

Probability of Occurrence

Probability of occurrence explores the likelihood that an identified risk could occur. Probability of occurrence uses a rating and value scale ranging from Not Present (0) to Almost Certain to Certain (4).

Examples:

- A laboratory is measuring the pH of ground water and handles hundreds of samples daily. In this case, the likelihood that a container could spill and expose an employee to ground water would be high.

- A laboratory is conducting research on electroplating with cyanide baths and only uses the bath monthly. The probability of an occurrence happening would be low.

The following Probability of Occurrence with Standard Linear Scaling chart includes a percent probability an issue will occur. Note: This chart is arbitrarily scaled 1 to 4, with 4 being the highest probability.

Probability of Occurrence with Standard Linear Scaling

Severity of Consequences

Severity of consequences assigns a rating based on the impact of an identified risk to safety, resources, work performance, property, and/or reputation. Each rating is then assigned a value. (E.g., a "No Risk" may be assigned a value of 1; a "High" rating may be assigned a value of 4.) The numerical values from the severity of consequences will contribute to other types of risk rating tools, like the hazard risk rating with standard linear scaling.

Examples:

- The severity of consequence for a laboratory measuring the pH of ground water samples would likely be No Risk (0) in the event of a “failure” that caused an employee to be exposed to the ground water.

- The severity of consequence for a laboratory conducting electroplating research with cyanide baths would be High (4) in the event of a “failure” that caused an employee to be exposed to cyanide.

This Severity of Consequences with Standard Linear Scaling chart assesses impacts to personnel safety, resources, work performance, property damage, and institutional reputation associated with each rating. Note: This chart is arbitrarily scaled 1 to 4, with 4 being the highest severity.

The primary goal of risk rating is to differentiate between an institution's high-risk activities and low-risk activities. Therefore, it may be necessary to weight your consequences value scale to meet your institution's existing priorities and protocols.

For example, using the standard linear scaling, an activity with a certain probability (4) with no risk (1) would produce an overall risk rating of 4. An activity with a rare probability value (1) with potentially lethal consequences (4) would also result in a risk rating of 4. Since any activity with the potential of being lethal would not be considered low risk, regardless of how low the probability, the scale needs to be weighted to reflect the severity of potential consequences.

The Weighted Consequence Value Scale demonstrates how you might assign consequence values to achieve risk ratings more reflective of the impact of moderate and high consequences.

Severity of Consequences, Weighted Value Scale

Let's look back to our previous example. Using this weighted scale, an activity with a certain probability (4) with no risk (1) would still produce an overall risk rating of 4. However, an activity with a rare probability value (1) with potentially lethal consequences (20) would result in an overall risk rating of 20.

## Controlling Risks

Every institution sets their own risk tolerance based on its priorities and resources. This concept trickles down to a lab environment where the Principal Investigator, in collaboration with safety professionals, plan based on risk ratings for hazards, the controls that would effectively mitigate the risks.

There are strategies to address risks, the most obvious but least likely to be feasible is elimination of the hazard itself. The hazard, being necessary component of research or instruction would be difficult to eliminate unless a less hazardous alternative is available. Another possibility is downscaling where the amount of hazardous material, or the intensity or frequency of a hazardous activity is significantly reduced.

Controls, to be most effective must be implemented in the order of hierarchy and with redundancy (Figure 1).  According to the NIOSH pyramid, the most effective control measure is elimination and substitution, followed by engineering, then administrative and finally by personal protective equipment which is perceived to be the least effective of all controls.

Figure 1. Pyramid of controls illustrating hierarchy of effectiveness.

Modified from: http://www.cdc.gov/niosh/topics/hierarchy

When all controls (Table 3) are planned and implemented, the risk associated with a hazard is greatly reduced.  However, there is still the residual risk which might be manifested if and when an accident happens.  It is therefore mandatory for every laboratory to pe prepared for emergencies so that the consequence of an accident can be mitigated as well.

Table 3. Types and examples of controls.

| Order in the Hierarchy | Type of Control | Examples (not all-inclusive) |
| --- | --- | --- |
| 1 | Elimination | It is possible to not use the intended hazardous substance, equipment or process |
|  | Substitution | A less hazardous chemical, equipment or process is available |
|  | Downscaling | It is possible to use less volume, less concentration, conduct the experiment less frequently. |
| 2 | Engineering | Building ventilation Chemical fume hood Local exhaust vent/snorkel Biosafety cabinet Shielding for radiation Shielding for explosions Glove box Gas cabinet Closed system Guards for moving parts Insulated/guarded electrical connections Emergency shut-off Interlocks |
| 3 | Administrative (Rules Requirements, Protocols) | Personnel training prior to starting work Prior approval for high-hazard activities Designate work areas and restrict access Follow SOPs Follow safe practices Comply with University, State and Federal safety regulations Conduct a Job Hazard Analysis prior to the start of an experiment or a task Limiting the time a person works with a certain material Mandating that no one should work in the lab alone (buddy system) |
|  | Administrative (Work Practice and Hygiene) | Wear proper PPEs as a rule (includes full coverage shoes and clothing; no dangling accessories; flame resistant clothing as needed Remove PPEs (proper removal technique) when leaving lab area or handling items that you or others normally handle without PPEs Hand-washing No eating/drinking in the laboratory Designate, label appliances and household-type items Good housekeeping Buddy system Protect unattended operations (i.e., long term procedures that use flowing gas, pressure, vacuum, running water, heating equipment) Acknowledge personal limitations |
| 4 | Personal Protective Equipment (appropriate for the hazard/task, assigned, always used) | Safety glasses for minimum eye protection Safety goggles if there is potential for minimal splash Face shield for potential moderate splash to the face |
|  |  | Lab coat for general skin protection Flame resistant lab coat if using large volume of flammables and or open flame |
|  |  | Gloves specifically resistant or appropriate to hazard |
|  |  | Nose and Mouth protection Respiratory protection |
|  |  | Ear protection |
|  |  | Other protection |

## Preparing for Emergencies

Being prepared for emergencies is paramount to safety in the laboratory. There is residual risk even after control measures are well thought out and implemented, by virtue of the presence of the hazard.  In addition, controls may fail and accidents can happen.  If, and when accidents happen, everyone must be prepared to respond appropriately.  Preparations must occur before an accident and so it must be part of the preparations before starting any experiment or task.

Common accidents in laboratories involve fire, exposure to chemicals and spills or releases of chemicals. Some important considerations when preparing for emergencies:

- Prepare written procedures.

- Perform required checks and maintenance of safety equipment such as fire extinguisher, first aid kit, spill kits, emergency shower and emergency eyewash.

- Ensure lab personnel are trained on how to execute the emergency procedure including knowledge of use and location of safety equipment.

- Conduct emergency drills.

- Verify that phone numbers are accurate.

# CHAPTER 5. LAB ACCESS AND SECURITY

## Authorized Personnel Only

Doors to the laboratory rooms must be kept locked and accessible only to authorized personnel.  Authorized personnel primarily include students, technicians, post-docs, and other personnel that are members of the research group under the Lab Supervisor or Principal Investigator that the research space is assigned to.  Other personnel may be given authorized access temporarily to conduct short-term activities or use shared equipment.

## Working Outside of Normal Business Hours

Lab personnel working outside of normal 7:30 am to 5:30 pm business hours, Mondays through Fridays are required to seek prior approval from their Lab Supervisor.  The lab Supervisor will need to designate a “buddy” for the lab worker, someone who is able to assist should an emergency arise in the laboratory.

Researchers should avoid conducting work with highly hazardous substances, equipment and processes when they are alone in the laboratory. When working alone late at night or over long weekend periods, arrange with Campus Police or workers in other laboratories to check on you periodically. Some experiments are too hazardous to be conducted alone under any circumstances; it is the responsibility of researchers to consult with their supervisor to identify such highly hazardous activities.

## Animals in Laboratories

Pets such as dogs and others are not permitted in laboratories and other research axillary spaces. Special accommodation may be made for service animals in accordance with the American Disability Act. Contact the Office of Disability Services for more information and to obtain permission.

## Minors in Laboratories

Minors often seek and acquire opportunities to study or work at the University of South Carolina (USC) and gain valuable knowledge and experience. The University recognizes both the importance of the educational and outreach missions of the university, and the need to ensure a safe environment for all faculty, staff, students and visitors. The UofSC policy on Minors in Laboratories is only one of many University policies involving minors who seek volunteer work in UofSC laboratories.

This policy defines a minor is defined as a person under the age of eighteen (18) who is not enrolled or accepted for enrollment at the University. A “laboratory” refers to any part of a building used or intended to be used for scientific or technical activities where hazardous materials are used and/or stored (e.g. biological, chemical or radiation hazards); this includes teaching laboratories as well as research laboratories.

The following summarizes which minor person is and isn’t allowed in our laboratories:

Children under 12 years of age are prohibited from entering laboratory areas under all circumstances.

- No individual between the ages of 12 and 16 may enter a laboratory, unless they are part of a one-time tour that was approved by the individual faculty member and the Department Chair. Tours may only be conducted at times when all hazardous materials are properly stored and not being used for experiments. The faculty member will be responsible for proper supervision and for providing any appropriate personal protective equipment for the visitors. Tours must be supervised at all times while a minor is on the premises, and tour participants may not participate in any laboratory activities.

- No individual between the ages of 16 and 18 may enter a laboratory or other work area with potentially hazardous materials or conditions unless the minor is:

- A student enrolled at the UofSC.

- Part of a group or individual educational program reviewed in advance by the Environmental Health and Safety (EHS), Risk Management Office, and the Department Chair, or

- Part of a relationship in which a faculty member or researcher is acting as a mentor to the minor, the minor will not be present in the laboratory for more than three months, and all activities performed by the minor have been approved by all applicable University departments, divisions and/or representatives. Applications proposing that a minor be present in the lab for longer than three months will be evaluated on a case-by-case basis by designated University representatives, and may be denied or subject to additional requirements.

- Volunteers who have no affiliation with the UofSC and are 18 years old or older need to complete and sign the Volunteer Participation Agreement and Acknowledgement of Risks [pdf] portion of the application form only.

If you are a Principal Investigator and plan to host a minor who will participate in any activity in your laboratory, please complete the Minor Application [pdf], submit to your Department Chair for approval, then submit to jlocke@mailbox.sc.edu. EH&S will review the application and confirm if the proposed plan of activities conforms with the policy.

The following forms are required to host a minor in laboratories:

- Volunteers currently enrolled at UofSC, any age - no form needed

- Volunteers not currently enrolled, 18 yr old or older - complete Volunteer Participation Agreement [pdf] only

- Volunteers not currently enrolled, 16 yr old or older but not yet 18 - complete Minor Application [pdf]

NOTICE:

EHS does not authorize final approval for minors in laboratories. EHS reviews proposed lab activities involving minors and issues recommendations, requirements or restrictions based on laboratory safety guidelines and University policy. Additional approval considerations may include, but not be limited to, the following policies and guidelines:

a) University of South Carolina Policy (UNIV 4.00) on Programs Involving Minors

b) University Guidelines for Designing and Operating Programs Involving Minors

c) Human Resources Background and Employment Verification Check (policy HR 1.90)

d) School of Medicine Basic Sciences: Research Experiences for Minors (REM) Committee

e) Other applicable requirements based on University policies issued by Law Enforcement, Risk Management, General Counsel, Continuing Education and Conferences, or Human Resources.

f) Other policies, procedures or applications required by the Department sponsoring the minor(s).

# CHAPTER 6. SAFETY DOCUMENTS AND SIGNAGE

## Hazard Notice

A Laboratory Hazard Notice is required to be posted by the entrance of your laboratory.  The purpose of this notice is to inform emergency responders, lab personnel and authorized visitors of all hazardous materials or situation that they may encounter upon entering your laboratory. The hazard notice must include all chemical, biological, radioactive, equipment and other hazards present in the lab. Emergency contact information and entry requirements must also be listed. Emergency contact number need to be a cell phone that you are likely to answer when you are not on campus.

Should an incident occur in your lab, Emergency responders will rely on the hazard notice to make timely and effective decisions to enter and stabilize the incident area. If you are the designated group Safety officer for your laboratory, you must ensure that the information listed on the hazard notice is accurate at all times.

This hazard notice template [docx] can be modified to create your lab specific signage. The following instructions describe the information required for each section of the notice:

Laboratory Identification - the laboratory name refers to how you refer to your research group; indicate the Building and room number and the name of your Principal investigator.  List the names of all members of your research group.  If needing more space than available, indicate "See lab personnel list in the Laboratory Safety Manual and Chemical Hygiene Plan binder".

Research Group - Emergency contact should include the Principal Investigator and two lab personnel who are capable of answering questions about laboratory operations. List phone numbers that can be reached outside of normal office hours such as a home phone or a cell phone.

Emergency and Non-emergency Contact - Personnel and/or offices who can provide information and/or assistance in emergency and non-emergency situations.

Notice - include statements and phrases that will inform all personnel of the requirements that need to be met before they can enter your laboratory.

Fire Hazards - Review your lab chemical inventory and safety data sheets to identify the GHS hazard classes and Category ratings of chemicals present in your lab.  Make a list hazards classes that have Category 1 or 2 ratings. This section of the template lists all GHS hazard classes of chemicals that impact the potential to start a fire or the response during a fire.  Remove the pictograms that do not represent any of the hazard class on your list.  Indicate the total volume of flammable liquids and list individual names of flammable liquids that are stored in 5-gallon or larger containers.  List chemical names of all flammable gases and indicate the total volume of all flammable gases in your lab.

Health Hazards - Review your lab chemical inventory and safety data sheets to identify the GHS hazard classes and Category ratings of chemicals present in your lab.  Make a list hazards classes that have Category 1 or 2 ratings. This section of the template lists all GHS hazard classes of chemicals that impact a person's short-term and long-term health. Remove the pictograms that do not represent any of the hazard class on your list.  List by name under each hazard class, all chemicals that are particularly dangerous.  For example: Corrosives - HF; Acute toxicity - Arsine.

Physical and Other Hazards - This refers to equipment, instruments, and other items that pose physical harm such as cutting, pinching, crushing, burning, electrocution, high pressure, and others.  Include equipment that generate hazardous chemicals such as hydrogen generator, ozone generator, mercury generator, etc.  Other hazards refer to items or situation in the lab that are potential safety concerns but are not classified as chemical, biological, physical or radioactive.  Examples are tripping hazards, low beams, noise, confined space, dim lighting, etc.

Biological Hazards and Biosafety Level - List all biological materials (derived from living organism) present and the biosafety level assigned to your lab.  Please note that all BSL-2 labs have a specific signage required.

Radiation Hazards - List all isotopes, laser (and class) and x-rays present in the lab.

## Lab Safety Manual and Chemical Hygiene Plan

Regulatory Reference: 29 CFR 1910.1450(e)(1) Where hazardous chemicals as defined by this standard are used in the workplace, the employer shall develop and carry out the provisions of a written Chemical Hygiene Plan which is:

1910.1450(e)(1)(i) Capable of protecting employees from health hazards associated with hazardous chemicals in that laboratory and

1910.1450(e)(1)(ii) Capable of keeping exposures below the limits specified in paragraph (c) of this section.

The Occupational Safety and Health Administration (OSHA) regulation 29 CFR 1910.1450, “Occupational Exposure to Hazardous Chemicals in Laboratories”, also known as the OSHA Lab Standard, requires that a Chemical Hygiene Plan (CHP) be developed for each laboratory workplace to protect employees from injury due to chemical exposure in the workplace. Among other required elements, the OSHA Lab Standard specifies that the CHP must include the “criteria that the employer will use to determine and implement control measures to reduce employee exposure to hazardous chemicals including engineering controls, the use of personal protective equipment and hygiene practices”; “particular attention shall be given to the selection of control measures for chemicals that are known to be extremely hazardous” (1910.1450(e)(3)(ii)).

The UofSC Laboratory Safety Manual and Chemical Hygiene Plan (UofSC LSM-CHP, this document), was developed by the EH&S Chemical and Lab Safety Program. Our intent is to create a plan that will address commonly used hazardous substances, equipment and processes in our laboratories, which makes this document a Laboratory Safety Manual with an embedded Chemical Hygiene Plan. This document, in its present form, serves as a foundation that can be used by Principal Investigators and Lab Managers in developing their lab-specific Laboratory Safety Manual and Chemical Hygiene Plan. This template can be made lab-specific by completing all forms within the Lab-Specific Information for UofSC LSM-CHP document.

## Chemical Inventory

Regulatory Reference: 29CFR 1910.1200(a)(2) This occupational safety and health standard is intended to address comprehensively the issue of classifying the potential hazards of chemicals, and communicating information concerning hazards and appropriate protective measures to employees, and to preempt any legislative or regulatory enactments of a state, or political subdivision of a state, pertaining to this subject. Classifying the potential hazards of chemicals and communicating information concerning hazards and appropriate protective measures to employees, may include, for example, but is not limited to, provisions for: developing and maintaining a written hazard communication program for the workplace, including lists of hazardous chemicals present; labeling of containers of chemicals in the workplace, as well as of containers of chemicals being shipped to other workplaces; preparation and distribution of safety data sheets to employees and downstream employers; and development and implementation of employee training programs regarding hazards of chemicals and protective measures.

The development of and maintenance of an accurate chemical inventory [xls] not only facilitates smooth operations in a laboratory, it is also required by the Occupational Health and Safety regulation 29 CFR 1910.1200, also known as the OSHA Hazard Communication Standard. Ready access to safety data sheets of each hazardous chemical in the workplace is also an essential requirement of this standard.

To develop and maintain your lab chemical inventory:

- Download the chemical inventory [xls] template

- Using the template, enter the minimum information required: chemical name, CAS# if available (some proprietary mixtures may not have it) and amount (quantity and unit)

- Update as new chemicals come in or as chemicals are used or discarded

## Safety Data Sheets

Regulatory Reference: 29 CFR 1910.1200(b)(3)(ii) Employers shall maintain any safety data sheets that are received with incoming shipments of hazardous chemicals, and ensure that they are readily accessible during each workshift to laboratory employees when they are in their work areas;

The OSHA Hazard Communication Standard, requires chemical manufacturers, distributors, and importers to communicate the hazards of chemical products to users by providing Safety Data Sheets (SDSs; formerly known as Material Safety Data Sheets or MSDSs).

The laboratory supervisors are responsible for making sure that SDSs for all chemicals in the workplace are readily accessible to all personnel at all times. Individual workers are responsible for reading the SDSs of chemicals prior to handling them for the first time.  SDSs contains 16 standard sections providing information not only on the chemical and physical properties but also essential hazard and protective measures. Keep in mind that any incident involving a chemical will require an SDS to be provided to Emergency Responders and to the attending Physician so that proper treatment can be administered.

The following guidelines describe how to satisfy the requirement for ready access to SDS at all times:

Option 1. Maintain printed copies of SDS for ALL chemicals stored and/or used in the lab in a binder.

  - Upon receipt of a chemical shipment, take the enclosed SDS and place in a SDS binder. If no SDS is enclosed, visit the website of the manufacturer or distributor and print the SDS for the chemical received. Arrange SDS alphabetically according to chemical name.

  - Place tabs for each letter of the alphabet to facilitate SDS search in the binder. Indicate the location of SDS binder in Lab-Specific Information for LSM-CHP

  - Place SDS binder in a work area accessible to all lab personnel at all times.

  - Make provision for a back-up access to SDS information in case the printed copies get lost or become inaccessible.  Examples of back-up access include online databases, pdf files in a CD or pdf files on a computer folder.

Option 2. Maintain printed SDS for high hazard chemicals only. Maintain electronic access to SDS for all other low to moderate hazard chemicals.

In general, high hazard chemicals are classified into Category 1 or 2 based on the Globally Harmonized System for hazard classification and labeling of chemicals for the following hazard classes:

- Acute Toxicity

- Carcinogen

- Mutagenicity

- Reproductive Toxicity

- Respiratory Sensitizer

- Target Organ Toxicity

- Aspiration Toxicity

- Pyrophorics

- Flammables (liquids; if used in large amounts or in combination with heat or open flame)

- Flammables (gases)

- Emits Flammable Gas, Self-Reactives

- Self-heating

- Organic Peroxides

- Skin Corrosion or Burns

- Eye Damage

- Explosives and Oxidizers

If a chemical is classified into Category 3 or 4, consult with EH&S to determine if it needs to have printed SDS.

2.1. See Option 1 to maintain printed copies of SDS of high hazard chemicals.

2.2. For SDS of low to moderate hazard chemicals, describe the procedure on how to access SDS electronically in the Lab Specific Information for the LSM-CHP. Specify the web link(s), how to perform SDS search for a specific chemical and how to print the SDS if requested (i.e., by an emergency responder during a release incident or an attending physician during an exposure incident).

2.3. Train all lab personnel on the procedure described in 2.2.

2.4. Specify a back-up source of the electronic SDS referenced in 2.2 in case electricity goes out or if the web link becomes unavailable. For example, maintain a CD that contains all the pdf files of SDS in 2.2 that can be accessed using a battery powered laptop.

Online resources for Safety Data Sheets

- Interactive Learning Paradigms, Inc. lists over 85 different online SDS providers

- Sigma-Aldrich

- Fisher Scientific

- VWR

- Airgas, Matheson, Praxair

## Standard Operating Procedures

Regulatory Reference: 29 CFR 1910.1450(e)(3)(i) Standard operating procedures relevant to safety and health considerations to be followed when laboratory work involves the use of hazardous chemicals.

The following categories of hazardous substances, equipment and processes presents extreme hazards to personnel and requires written SOPs even for a single event where they are used.

- select human carcinogens

- reproductive toxins

- mutagens

- teratogens

- compressed gases especially those that are flammable, reactive, corrosive, and toxic

- unstable compounds that may explode (i.e., expired peroxide formers, dry picric acid),

- pyrophoric materials, and

- highly toxic liquids and solids

- pressurized systems

- equipment that poses significant physical hazards (cut, pinch, crush, high voltage, high pressure, others)

- Category 1or 2 rating for most hazard classes according to GHS classification

- Process that involves the use of any one or combination of the above

The new safety data sheet format identifies the hazard classes of a substance in Section 2. The hazard classification is based on the Globally harmonized system of hazard classification and labeling (GHS). If GHS assigns a Category 1 or 2 rating under any hazard class, it is highly likely that an SOP need to be written for this substance. Consult EH&S 777-5269 if in doubt about the high hazard status of a specific substance.

What is an SOP?

(Most text in this section is an excerpt from the American Chemical Society’s Hazard Assessment in Research Laboratories).

What it is - The result of the SOP method is a comprehensive document that outlines processes in the lab and identifies hazards and controls to eliminate or mitigate the risks.

Who’s involved - Principal Investigators and senior lab workers oversee the SOP process, but everyone working in the lab should contribute and participate.

When to use - Scenarios where hazardous materials, equipment, or processes have been identified but could be streamlined for simple experiments, well-tested experiments, or those that are unchanging.

Training required - Principal Investigators and senior lab workers should lead SOP development. All lab workers at all experience levels should participate in SOP development, review, and updates.

Overview

Standard Operating Procedures (SOP) work well for designing experimental protocols in general. It provides an opportunity to identify risks and hazards at each step of an experimental process. An effective SOP analyzes potential hazards associated with a number of factors ranging from the types of materials the experiment requires, to the people working in the lab. Based on the identification of these hazards and risks, SOPs help predict what could go wrong and assess the impact of a safety failure.

Learn more about hazard identification factors to assess.

The SOP often includes information collected from a checklist, Job Hazard Analysis, What-if Analysis, or control banding.

SOPs are typically developed for repetitive procedures known to have associated hazards, such as injury, property loss, or loss of productivity. The SOP outlines written steps that can be followed to safely execute the procedure. Each step of the experiment can be analyzed separately to identify failure points. After each step is analyzed for potential dangers, the whole experiment process should be examined from beginning to end to determine if combinations of the factors could impact safety.

The lab worker uses the hazard matrix to review the risks associated with the use of hazardous materials, hazardous processes, and hazardous equipment. They also measure impact of conditions including: adequacy of facilities, worker knowledge and experience and proposed hazard mitigation measures.

SOP Messages to Remember

When writing an SOP, make sure the appropriate research was performed to understand the hazards and identify safety measures including a review of past incidents.

How to develop and write an SOP

1. Consult with coworkers, vendors, or other experts.

They may point out hazards you hadn’t considered or known about. For example, compressed gas vendors can explain appropriate handling. Include warning or trouble signs and what to do to prevent a lab accident. Submit the SOP for review by a supervisor and other laboratory workers.

2. Review literature and other guidance materials.

- Consult the Safety Data Sheet for specific hazards of substances to be used.

- Consult National Fire Protection Association codes (the safety office can obtain these) for control requirements for gas in storage and use, including tubing and connectors, emergency response equipment and facilities requirements.

- Review the literature for lessons learned.

- Review the experiment for what could go wrong/likely failures?

– What failures, even if unlikely, could lead to a catastrophic event?

3. Decide on what approach to take:

- Process (i.e., distillation, peptide synthesis, hydrogenation, organic synthesis)

- A specific hazardous substance (i.e., cyanogen bromide, HF, nitric acid)

- Hazard class – (i.e., organic solvents, peroxide formers, carcinogens, corrosives)

- By any other reasonable approach that addresses the health and safety concerns of the experiment

4. Use the EH&S SOP template and address the following required elements:

- Identity of the substance and important characteristics

- Material hazards

- Other special considerations such as extreme reactivity

- Availability of alternative safer materials

- Engineering controls

- Personal protective equipment (PPE) required

- Proper use and storage

- Work practices

- Emergency procedures for spill, exposure to the hazardous substance and/or process or equipment failure

- Availability of safety equipment

- Safety information resources

- SOP-specific training documentation

5. Prepare for the experiment.  Perform a dry run.

- Remove any combustible or unnecessary material from the area around the experiment.

- Make sure there is a clear emergency egress

- Make sure you have appropriate attire and PPE.

- Have a plan to monitor the experiment.

- Review the hazards and make sure measures have been taken to reduce risk.

- Address other laboratory or facility operations that might affect this experiment or be affected by it.

- Practice using nonhazardous materials or using a scaled down process.

6. Identify unsafe conditions. Revise SOP, incorporate new information.

- Do not perform an experiment in low humidity, with inadequate space or lighting, or in a cluttered or cramped area.

- Do not perform while working alone or without emergency response personnel, if needed.

- Do not perform an experiment if rushed, fatigued, or ill.

- Do not proceed if there is evidence of a gas leak or a tubing or equipment failure.

- Report any incidents or concerns to a supervisor.

## Training Documentation

See Chapter 7

## Designated Areas

Designated areas should be clearly marked with a conspicuous sign reading: DESIGNATED AREA FOR USE OF (NAME OF HIGHLY HAZARDOUS SUBSTANCE)(AUTHORIZED PERSONNEL ONLY. Only authorized and trained personnel should be allowed to work in or have access to such designated areas.

## Unattended Operations

Unattended procedures and operating equipment are strongly discouraged due to the increased risk of developing a hazardous situation or materials release from equipment failure or interruption of supply of electricity or water.  These often results to flooding and/or fire or release of hazardous chemicals.  In cases where equipment or procedures need to run over an extended period of time due to the nature of the experiment, there are signage that needs to be placed on the equipment.

## Emergency Procedures

A written emergency procedure for common lab incidents such as fire, exposure to chemicals, chemical spills and releases are required to be posted by the exit door or any prominent bulletin board in the laboratory.  The procedure must clearly describe the steps that must be taken to properly respond when an incident occur.  The procedure must include verified emergency phone numbers for personnel and offices who will be able to provide information about laboratory operations or assist during an emergency.

# Chapter 7. SAFETY TRAINING

## Required Safety Trainings

Training is an essential tool to communicate the principles and practices of laboratory safety. Required trainings for each lab personnel depends on the hazardous materials to be handled by the person.  At the time of initial appointment, the Supervisor and personnel must take time to identify and list all required trainings.  The Supervisor and lab personnel must ensure that the trainings identified are corresponds with the materials involved in experiment and that the trainings are completed before beginning actual work in the laboratory.

The following regulatory agencies require training of employees who work with specific hazardous materials:

- Occupational Safety & Health Administration (OSHA) requires training for all employees who work with hazardous chemicals and human-derived materials (e.g. human blood, body fluids or tissue specimens);

- RCRA regulation requires employees generating hazardous chemical waste to complete annual hazardous waste generators’ training;

- The SC Department of Health and Environmental Control (DHEC) requires personnel generating infectious waste to understand compliance requirements for infectious waste collection, storage, transport and disposal;

- State and federal regulations require radiation safety training for all personnel using radioactive materials or equipment such as x-rays or lasers;

- National Institutes of Health (NIH) Guidelines require the university to ensure appropriate training for laboratory staff regarding laboratory safety and implementation of the NIH Guidelines;

- Other research funding and accreditation agencies also require grantees to perform their research in compliance with federal safety regulations, standards and guidelines.

## EH&S Training

EH&S provides monthly virtual trainings on Chemical and Lab Safety, Hazardous Waste, Biological Safety Level 2, and Bloodborne Pathogens, through Microsoft Teams. Radiation Safety trainings are taken on-line with a quiz taken in person at the Radiation Safety Office. The training schedule is posted online and is updated every start of the semester. Special trainings such as HF Safety is requested by calling (803) 777-7650.

## Lab-specific Training

It is the responsibility of the Laboratory Supervisor to ensure that their lab members have completed all required trainings and provide them with laboratory-specific and procedure-specific trainings on the use of hazardous chemicals, equipment, and processes in their laboratory. This training can be presented during informal group safety meetings or individual discussions with lab personnel.

Laboratory-specific trainings must include:

- Discussion of all hazards and controls present in the laboratory

- Location of the safety documents (Lab Safety Manual and Chemical Hygiene Plan, Safety Data Sheets, equipment manuals, posters, books, handouts, online resources, others)

- Review of the contents of the Lab Safety Manual and Chemical Hygiene Plan. All lab personnel must sign the clearance form after reading the document

- Review of the contents of the safety data sheets and the ways to access them

- Location and use of safety equipment (safety shower, eyewash, fire extinguisher, first-aid kit, others)

- Location, use, limitation and maintenance of personal protective equipment

- Standard Operating Procedures (SOPs) for handling highly hazardous chemicals, equipment, processes and tasks. Personnel must be able to demonstrate proficiency in performing all aspects of the SOPs

- Procedures for responding to emergencies (fire, spills, chemical exposure, others) including steps in getting medical care

- Procedures for post-exposure follow-up.

Lab personnel not doing work (access only)

Personnel who will have access to the laboratory but are not performing laboratory work should be provided a safety orientation to ensure that the person is aware of the hazards present in the lab, the emergency procedures that must be followed should an incident occur and the required personal protective equipment required to enter the laboratory.  The Lab-specific Information for LSM-CHP clearance form must be signed after the safety orientation.

# Chapter 8. LAB VENTILATION AND FUME HOODS

Room exhaust ventilation is the primary method used to control inhalation exposure to hazardous substances. Laboratory rooms are designed so that room air is changed with fresh air at a particular rate of at least 8 air changes per hour. The laboratory fume hood is the most common ventilated enclosure used in the laboratory. Other types of local exhaust include vented enclosures for large pieces of equipment or chemical storage, and snorkel types of exhaust for capturing contaminants near the point of release. Local exhaust systems consist of some type of hood, ductwork, and fan located on the roof. Some systems are equipped with air cleaning devices (HEPA filters or carbon adsorbers). In most cases individual fans service each hood.

A chemical fume hood is an essential engineering control designed to contain, capture and eliminate hazardous chemical vapors, fumes, aerosols or particulates away from the user’s breathing zone. Proper use of a functioning fume hood is required for protection against exposure to many hazardous chemicals used in the laboratory.

The following guidelines should be followed when using chemical fume hoods:

  - No hoods should be used for work involving hazardous substances unless it has been inspected and certified by EH&S within the last year.

  - Never put your head inside an operating laboratory hood to check an experiment. The plane of the sash is the barrier between contaminated and uncontaminated air.

  - Always try to keep hazardous chemicals at least six inches behind the plane of the sash.

  - Work with the hood sash in the lowest possible position. The sash will then act as a physical barrier in the event of an accident in the hood. Keep the sash closed when not conducting work in the hood or when leaving a long term experiment.

  - Avoid cluttering your hood with bottles or equipment. Keep it clean and clear. Only materials actively in use should be in the hood. This will provide optimal containment and reduce the risk of extraneous chemicals being involved in any fire or explosion that may occur in the hood.

  - The hood must remain "ON" at all times when a chemical is inside the hood, regardless of whether any work is being done in the hood.

  - Promptly report power failure or any suspected hood malfunctions to the laboratory supervisor and in an emergency, to the EH&S (803) 777-5269.

  - Do not make any modifications to hoods or duct work.

## Fume Hood Certification and Maintenance

New fume hood installations are tested by a third party using ASHRAE 110 standard for testing performance of laboratory fume hoods. EH&S performs yearly testing of face velocity and certifies fume hoods that meet the required face velocity, normally between 80-120 linear feet per minute.

Indications your chemical fume hood is/or may be malfunctioning:

- fume hood is sounding an alarm

- there is very low or no draft passing across the area below the sash opening (you can test this by holding a Kimwipe or any thin tissue paper just below the sash)

- you don’t hear the motor running

- there is power outage in the building

If you suspect that your lab fume hood is malfunctioning, stop using the fume hood immediately, close the sash, and post a notice of “FUME HOOD OUT OF SERVICE UNTIL REPAIRED”.

- Call Department of Facilities 777-9675 to request repair.

- Complete and post on the fume hood the  repair clearance form [pdf].

- Once repair is completed, call EH&S 777-5269 to have the fume hood re-certified.

# Chapter 9. PERSONAL PROTECTIVE EQUIPMENT

## Exposure to Chemicals

The OSHA Laboratory standard defines a hazardous substance as "a chemical for which there is statistically significant evidence based on at least one study conducted in accordance with established scientific principles that acute or chronic health effects may occur in exposed employees. The term 'health hazard' includes chemicals which are carcinogens, toxic or highly toxic agents, reproductive toxins, irritants, corrosives, sensitizers, hepatotoxins, nephrotoxins, neurotoxins, agents which act on the hematopoietic systems, and agents which damage the lungs, skin, eyes, or mucous membranes". Highly flammable and explosive substances comprise another category of hazardous compounds.

Most materials have some guidelines for exposure published by various agencies:

- OSHA Permissible Exposure Limits (PEL)

- American Conference of Governmental Industrial Hygienists (ACGIH) Threshold Limit Values (TLV).

- National Institute for Occupational Safety and Health (NIOSH) Recommended Exposure Limits (RELs)

When such values exist, they will be used to assist the Chemical Hygiene Officer and users in identifying and implementing required controls. When TLV or PEL values are not available for a substance, the Lethal Dosage that kills 50% of a population of test animals (LD50), if available, can serve as a guide. If the LD50 is low, then the chemical must be used in a fume hood. Sometimes the Lethal Concentration that kills 50% of a population of test animals by the inhalation route (LC50) is also reported in the scientific literature. The possibility of absorption of a chemical through the skin should always be considered as well.

When TLV or PEL values exist and are low, the chemical must be used in an operating fume hood, glove box or any approved ventilated enclosure. In limited circumstances where a fume hood is not available, users must consult with EH&S to determine if a respirator can be used.  The user must participate in the EH&S Respiratory Protection program.

Chemicals with high vapor pressure evaporates quickly at room temperature. They must be used in a fume hood even if they have high PEL, TLV or LD50. These chemicals are likely to reach their exposure limits in air as quickly as chemicals with low exposure guidelines and a low vapor pressure. The Safety Data Sheet of each chemical must be consulted for specific engineering control requirements.

Many of the substances encountered in the laboratory are known to be toxic or corrosive, or both. Compounds that are explosive and/or highly flammable pose another significant hazard. New and untested substances that may be hazardous are also frequently encountered. Thus laboratory personnel must understand the types of toxicity, recognize the routes of exposure, and become familiar with the major classes of toxic and corrosive chemicals. The most important single generalization regarding toxicity in chemical research is treat all compounds as potentially harmful, especially new and unfamiliar materials, and work with them under conditions which minimize exposure by skin and mucous membrane contact, and inhalation.

When considering possible toxicity hazards while planning an experiment, it is important to recognize that the combination of the toxic effects of two substances may be significantly greater than the toxic effect of either substance alone. Because most chemical reactions are likely to contain mixtures of substances whose combined toxicities have never been evaluated, it is prudent to assume that mixtures of different substances (e.g., chemical reaction mixtures) will be more toxic than the most toxic ingredient contained in the mixture. Furthermore, chemical reactions involving two or more substances may form reaction products that are significantly more toxic than the starting reactants.

Any researchers or employees in the lab setting with concerns for potential exposure from chemical or physical agents may contact their physician.  Any individual who is experiencing any adverse health effects from exposure to hazardous substances, or believes they may have been exposed to a hazardous substance either through routine exposure or during an accident or spill, should notify their Supervisor immediately to initiate medical treatment. The individual and the Supervisor will call Compendium CompEndium Services (available 24/7) at 877-709-2667 to report the injury or exposure and get assistance to obtain medical treatment.  Emergency assistance can be obtained by calling 911.

Any perceived long-term potential exposure to a health hazardous substance, which may require medical surveillance must be referred to EH&S.  EH&S will perform an initial risk assessment and environmental measurements such as air monitoring, if required.  Subsequent steps involving medical surveillance will be determined if there is significant potential exposure involved even with current controls in place.

## Personal Protection from Hazards

Personal protective equipment, commonly referred to as “PPE”, is equipment worn to minimize exposure to chemical and other hazards that cause serious injuries and illnesses. PPE creates a barrier between the ports of entry (mouth, skin, mucous membranes, respiratory system) and the hazardous materials in the work environment. Exposure to chemicals occur through absorption, injection, ingestion and inhalation.

Examples of commonly used laboratory PPE include safety glasses, safety goggles and face shield for eye and face protection, various types of gloves for hand protection and lab coat for skin protection.  Laboratory room ventilation and the availability of fume hoods makes the use of respiratory protection unnecessary in most cases. In rare occasions that a respiratory protection is needed, call EH&S 777-5269 to request air monitoring and enroll in our Respiratory protection program.

Worker protection afforded by PPEs depend on whether the PPE was properly selected for the hazard and the workers properly using them.

To ensure proper use of PPE, laboratory personnel must know:

- When it is necessary

- What kind is necessary

- How to properly put it on, adjust, wear and take it off

- The limitations of the equipment

- Proper care, maintenance, useful life, and disposal of the equipment

Basic Lab Attire

The minimum attire to work in our laboratories include full coverage shoes and clothing that provides maximum skin coverage such as long pants and sleeved shirts.  Dangling accessories should not be worn, and long hair must be confined, such as tied in a ponytail.

Skin Protection

Skin contact with any potentially hazardous chemical should always be avoided. Any mixture of chemicals should be assumed to be more toxic than its most toxic component, and substances whose hazards have not been evaluated should be treated as hazardous. For this reason, lab coats need to be worn over basic attire that provides maximum skin coverage. Work with concentrated acids and bases requires the use of chemical-resistant apron as added protection.

Suitable gloves must always be worn when working with hazardous substances. Choose gloves made of material known to be (or tested and found to be) resistant to permeation by the substance in use. In some cases, two gloves should be worn on each hand to ensure that no exposure will occur in the event of damage to the outer glove. Always inspect gloves for small holes or tears before use. In order to prevent the unintentional spread of hazardous substances, always remove gloves before handling objects such as doorknobs, telephones, pens, etc. Even silicone grease leaves an undesirable sticky residue behind if a door is opened or a telephone is answered using a grease-contaminated glove.

Eye and Face Protection

Regulatory Reference: 29 CFR

1910.133(a)(1). The employer shall ensure that each affected employee uses appropriate eye or face protection when exposed to eye or face hazards from flying particles, molten metal, liquid chemicals, acids or caustic liquids, chemical gases or vapors, or potentially injurious light radiation.

1910.133(a)(2). The employer shall ensure that each affected employee uses eye protection that provides side protection when there is a hazard from flying objects. Detachable side protectors (e.g. clip-on or slide-on side shields) meeting the pertinent requirements of this section are acceptable.

1910.133(a)(3). The employer shall ensure that each affected employee who wears prescription lenses while engaged in operations that involve eye hazards wears eye protection that incorporates the prescription in its design, or wears eye protection that can be worn over the prescription lenses without disturbing the proper position of the prescription lenses or the protective lenses.

1910.133(a)(4). Eye and face PPE shall be distinctly marked to facilitate identification of the manufacturer.

1910.133(a)(5). The employer shall ensure that each affected employee uses equipment with filter lenses that have a shade number appropriate for the work being performed for protection from injurious light radiation.

1910.133(b)(1). Protective eye and face protection devices must comply with any of the following consensus standards:

1910.133(b)(1)(i).  ANSI/ISEA Z87.1-2010, Occupational and Educational Personal Eye and Face Protection Devices, incorporated by reference in § 1910.6;

1910.133(b)(1)(ii).  ANSI Z87.1-2003, Occupational and Educational Personal Eye and Face Protection Devices, incorporated by reference in § 1910.6; or

1910.133(b)(1)(iii).  ANSI Z87.1-1989 (R-1998), Practice for Occupational and Educational Eye and Face Protection, incorporated by reference in § 1910.6;

In general, eye protection must be worn when entering a laboratory. Laboratories that uses and/or stored chemicals and other potential eye hazard must keep a supply of safety glasses for use by lab personnel, other University personnel accessing the lab for facility services and visitors.

Safety glasses must meet the American National Standards Institute standard Z87.1-1989 that specifies a minimum lens thickness (3 mm), certain impact resistance requirements, etc. Ordinary prescription glasses do not provide adequate protection against injury. Safety glasses can provide protection against injury from flying particles but offer little protection against splashes or sprays of chemicals. Safety goggles are required when a significant splash hazard exists.

Contact Lenses

There is no clear evidence indicating that the use of contact lenses increases the risk of eye injury in the laboratory compared with the use of prescription glasses when safety glasses or goggles are used over them.  It is important to remember, however, that when eyes are splashed with chemicals, it is much easier to remove prescription glasses than contact lenses when needing to wash off contaminants using an emergency eyewash.

Additional or special protective glasses

When protection from splash to the face and neck is needed, face shield must be worn. Special safety glasses are required for infra-red, UV-light or laser protection.

Respiratory Protection

Regulatory Reference: 29 CFR 1910. 134(a)(1)

In the control of those occupational diseases caused by breathing air contaminated with harmful dusts, fogs, fumes, mists, gases, smokes, sprays, or vapors, the primary objective shall be to prevent atmospheric contamination. This shall be accomplished as far as feasible by accepted engineering control measures (for example, enclosure or confinement of the operation, general and local ventilation, and substitution of less toxic materials). When effective engineering controls are not feasible, or while they are being instituted, appropriate respirators shall be used pursuant to this section.

Respiratory hazards should be controlled at their point of generation by using engineering controls and best work practices. In keeping with this goal, the use of respirators as the primary means of protecting employees from airborne hazards is considered acceptable only in very specific situations and only with prior approval from Environmental Health & Safety. The routine use of respirators as a means of primary control is not allowed.

Approval may be granted only in rare occasion such as a short-term temporary experiment where engineering controls are not feasible, or in situations where the use of respiratory protection is voluntary and is supplemental to an existing engineering control. When planning to use a respirator, call EH&S (803) 777-5269.  Our Industrial Hygienist will work with you to conduct air monitoring and assess the potential exposure to the air contaminant you are concerned about. If respirator use is warranted, you will be asked to consult with a physician for medical approval to use a respirator. The Industrial Hygienist will help you select the proper respirator and will fit test you for that specific respirator and provide you with respirator training that covers proper use and maintenance.

Voluntary Use a Respirators (from OSHA training of the same title)

Most workers who wear respirators use them because they are required to do so by their employer to protect them from airborne hazards. However, there are some situations where you may want to wear a respirator even though respirator use is not required by your employer or an OSHA standard. For example, you might request to wear a respirator to avoid exposure to an airborne hazard, even if the amount of the hazardous substance does not exceed the limits set by OSHA standards. Another example where you might want to voluntarily use a respirator would be to reduce exposure and increase comfort when working in a non-hazardous but dusty situation; for example, sweeping a shop floor. If your employer permits you to wear a respirator where it is not required, it is considered voluntary respirator use.

Before you can voluntarily use a respirator, your employer must ensure that its use does not present a health hazard to you. To do this, your employer must implement certain elements of a written respiratory protection program necessary to ensure that any worker using a respirator voluntarily is medically able to use that respirator. In addition, your employer must ensure that the respirator is properly cleaned, stored and maintained so that its use does not present a health hazard to you.

However, employers do not have to develop and implement a written respiratory protection program when workers only use filtering facepiece respirators voluntarily.

If you will be voluntarily using a respirator, your employer is also required to provide you with a copy of Appendix D of OSHA's Respiratory Protection Standard or the equivalent State OSHA Agency document. This document contains certain precautions you should take when wearing a respirator voluntarily. In general, Appendix D advises you:

- to read and follow the manufacturer's instructions provided with the respirator. These instructions include information on how to properly use, maintain, and care for the respirator, along with warnings on the capabilities and limitations of the respirator;

- to choose respirators that have been certified by NIOSH for protection against the contaminant of concern;

- to keep track of your respirator so that you do not use someone else's respirator by mistake; and

- not to wear your respirator in areas with contaminants that the respirator is not designed to protect against. For example, remember that a particulate respirator does not protect you against gases, vapors and the non-particulate components of fumes, mists, fogs, smoke and sprays.

Remember, voluntary use is only permitted when your employer has determined that there is no airborne hazard that would require the use of a respirator.

Hearing Protection

Regulatory Reference: 29 CFR 1910.95(c)(1) The employer shall administer a continuing, effective hearing conservation program, as described in paragraphs (c) through (o) of this section, whenever employee noise exposures equal or exceed an 8-hour time-weighted average sound level (TWA) of 85 decibels measured on the A scale (slow response) or, equivalently, a dose of fifty percent.

Most laboratory equipment and operations do not produce noise levels equal to or exceeding 85 decibels (dBA), the action level that require the use of hearing protection according to the OSHA Occupational Noise Standard. The presence of noise at this level requires a hearing conservation program.  This program includes workplace monitoring, personal exposure monitoring, annual audiometric testing, use of hearing protection and annual training.

If there are equipment and operations in your lab that requires you to yell to be heard by coworkers, call EH&S to have the noise level measured.  If nose level is below 85 dBA, you may elect to use hearing protection such as earmuffs and ear plugs for comfort in a noisy environment.  In such cases, you are not required to enroll in the hearing conservation program.

## PPE Policy

The University of South Carolina is committed to providing a safe environment for students, staff faculty and anyone who is permitted to work in or visit our laboratories. In support of this commitment, the University provides personal protective equipment (PPE) and enforces a PPE policy to protect employees, students and visitors from exposure to hazardous materials (chemicals, equipment and procedures) stored and used in our research laboratories and support facilities.

1. Who is required to follow this policy: All staff, faculty, students and volunteers working in a USC research laboratory and all visitors permitted to visit USC research laboratories.

2. Areas covered: Research laboratories, equipment rooms, chemical storage areas and other support facilities where hazardous materials are used and/or stored.

3. Responsibilities: The Principal Investigator or Instructor in charge of the laboratory or support facility is responsible for the enforcement of this policy.

3.1 The Principal Investigator will ensure that required PPEs are provided to laboratory employees and authorized visitors.

3.2 All personnel entering a laboratory and participating in laboratory activities are responsible for wearing required PPEs.

3.3 All non-employee students participating in laboratory activities are responsible for providing and wearing required PPEs.

3.4 All visitors entering the laboratory are responsible for wearing required PPE provided by the host laboratory.

4. Minimum protection to enter a laboratory: fully closed shoes, clothing that provides maximum and reasonable skin coverage (i.e. full length pants or skirt and shirt/tops with sleeves).

5. When working with dilute concentration of hazardous chemicals: minimum protection plus nitrile gloves, safety glasses and lab coat.

6. When working with concentrated form of hazardous chemicals: minimum protection plus safety goggles and gloves specifically chosen that are resistant to the chemical being handled.

7. If there is potential for splash of diluted hazardous chemicals: PPE in #5 plus face shield over safety goggles.

8. If there is potential for splash of concentrated form of hazardous chemicals: PPE in #6 plus face shield over safety goggles and chemical resistant apron over lab coat.

9. When working with flammable and pyrophoric chemicals: All PPEs in #6, #7 or #8 as applicable and lab coat must be flame-resistant.

10. For specific particularly hazardous substances (PHS) and operations, a comprehensive hazard and risk assessment must be conducted to identify specific PPE required. Example:

10.1 Transferring liquid nitrogen or retrieving samples from liquid-nitrogen-filled dewar: minimum protection plus lab coat, face shield over safety goggles, cryogen gloves over nitrile

10.2 Working with concentrated HF: lab coat, Tyvek suit over lab coat, tightly fitting safety goggles, face shield over safety goggles, chloroprene gloves (at least 0.6 mm thick), acid resistant booties over shoes

11. Non-conformation to this policy- The Principal Investigator, class Instructor, or any of their appointed lab manager or representative and USC safety personnel reserves the right to deny access to the laboratory for anyone who does not conform to this policy.

12. Lab-specific PPE policy – the Principal Investigator or class lnstructor reserves the right to enforce a more stringent PPE policy than what is described in this document.

# Chapter 10. GENERAL LAB SAFETY

## Keep the laboratory room secure

Chapter 10 of the Prudent Practices in the Laboratory lists the following security risks in laboratories:

- theft or diversion of chemicals, biologicals, and radioactive or proprietary materials (such materials could be stolen from the laboratory, diverted or intercepted in transit between supplier and laboratory, at a loading dock, or at a stockroom, and then sold or used, directly or as precursors, in weapons or manufacture of illicit substances);

- theft or diversion of mission-critical or high-value equipment;

- threats from activist groups;

- intentional release of, or exposure to, hazardous materials;

- sabotage or vandalism of chemicals or high-value equipment;

- loss or release of sensitive information; and

- rogue work or unauthorized laboratory experimentation.

To mitigate these risks, laboratory personnel are required to implement these control measures:

- control access to the laboratory room (i.e., keep doors locked, restrict access to authorized personnel only, escort approved visitors at all times),

- maintain inventory of hazardous materials, keeping track of their quantities and location,

- report suspicious incidents to the USC Police Department (803) 777-4215 (e.g., samples, chemicals, or equipment that are missing or appearing out of nowhere, tampered locks, unauthorized experiments, etc.),

- and ensure that everyone is made aware of the security risks and all security measures in place.

## Prior to Working in the Lab and Prior to Handling Hazardous Materials

- Conduct a thorough literature search, including review of Safety Data Sheets, to establish a thorough understanding of the properties of the chemicals to be handled, it’s hazards, routes of exposure, symptoms of exposure, health and physical injuries from exposure, recommended control measures, and emergency response.

- Take into account other hazards involved in the task or procedure where the chemical is to be used in such as equipment, glassware, reaction with other chemicals and the resulting products, potential pressurization, and others to assess the overall risk.

- Write a Standard Operating Procedure for safe handling of the material you are using. See Chapter 6.

- Use less hazardous substitutes where possible.  Use chemicals on the smallest scale and concentration feasible.

- Consult EH&S for an exposure assessment if handling toxicologically significant quantities at any given time or even small quantities for a long period of time. In some cases, medical surveillance may be recommended.

- Seek medical consultation for exposures that would likely approach or exceed established occupational limits or result in symptoms of exposure.

- If pregnant or planning to conceive, consult your supervisor and physician prior to working with known reproductive toxins.

- Prepare detailed SOPs and observe the precautions when administering reproductive toxins or acutely toxic chemicals to animals.

## Prudent Practices and Universal Precautions

- Wear the appropriate Personal Protective Equipment (PPE) recommended in the SDS and or as written in your SOP. At a minimum, appropriate PPE consist of standard laboratory/work attire (full coverage shoes and long pants), laboratory coat gloves resistant to the chemical(s) of concern, and ANSI certified safety glasses. Wear safety goggles and face shields when there is a risk of splashes to the face.

- Plan for and implement measures to avoid inhalation of fumes, vapors or aerosols. Work with hazardous chemicals in a fume hood when at all possible. Special containment such as a glove box may be necessary for handling highly toxic or highly reactive chemicals. In rare occasions that engineering control is not sufficient to limit inhalation exposure, consult with EH&S to discuss the potential use of appropriate respirators.

- Keep containers closed when not in use to limit the release of vapors and aerosols.

- Dispense liquid chemicals using pumps and funnels to limit splashing and mixing with air.

- Transfer powders and granules using spatulas and spoons instead of pouring them directly from a container to limit the generation of dusts. Clean up dry spills using a damp non-reactive absorbent paper.

- Never return unused material to the original container. It may contain traces of contamination which may cause a chemical reaction.

- Do not reuse empty containers - the residue may react with the chemical being added.

- Remove PPE and wash hands before leaving the work area. Remove gloves without touching the contaminated part of the gloves with bare fingers.

- Wash hands immediately after a known or suspected chemical contact.

- Keep your workspace including the floor clean. This will control the spread of contamination by not tracking chemicals outside of laboratory areas.

- Do not eat, drink, chew gum, apply cosmetics, or store such materials in the laboratory.

- Avoid using sharp objects and breakable glass apparatus if a non-sharp alternative exists.

- When handling a sharp object or there is a risk of cuts or sticks, use remote handling devices such as forceps if possible and use puncture-resistant gloves.

- Do not recap needles. Dispose used, uncapped needles in approved sharps containers.

- Secure highly toxic chemicals in a locked cabinet.

- If using vacuum pumps with toxic/hazardous materials, ensure that exhaust is vented through a fume hood, snorkel and other duct exhaust systems.

- Designate workspace for use of carcinogen, reproductive toxins and highly toxic chemicals.  Label and restrict access to these workspaces only to the authorized users. Clean designated workspaces after a known contamination and at the end of each workday. It may be advisable to use containment trays or cover workbenches with absorbent paper to facilitate cleaning.

- Clean chemical contamination of equipment in according to the manufacturer’s recommendation.

- Containerize waste solutions/solids, spill residues and related clean-up materials, and grossly contaminated disposable items for pickup by EH&S.

## Unattended Operations

Laboratory operations involving hazardous substances are sometimes carried out overnight or longer and are therefore left unattended. It is the responsibility of the researcher to design these experiments with provisions to prevent the release of hazardous substances in the event of interruptions in utility services such as electricity, cooling water, and inert gas. Laboratory lights should be left on and appropriate signs should be posted identifying the nature of the experiment and the hazardous substances in use. In some cases, arrangements should be made for periodic inspection of the operation by other workers. Information should be left indicating how to contact you in the event of an emergency.

## Housekeeping

Good housekeeping practices that keep work areas clean and clutter-free contribute greatly towards safety in the laboratory. Lab personnel are responsible for cleaning equipment, fume hoods and workbenches.  Should there be a need to request custodial Facilities for floor cleaning, all operations and hazardous materials must be kept and stored out f the way before cleaning can start.

There is a definite relationship between safety and orderliness in the laboratory. The following housekeeping rules should be adhered to in all laboratories:

- Work areas and floors should be cleaned regularly.

- Do not allow trash to accumulate.

- Access to exits and emergency equipment (showers, eyewashes, or fire extinguishers) must not be obstructed.

- Chemical containers should not be stored on the floor where they can be stepped on or tripped over.

- Chemical storage refrigerators should be defrosted periodically and should not be overcrowded.

- Keep all work areas and workbenches clear of clutter and obstructions. All chemicals should be placed in proper storage areas by the end of each workday.

- All spills should be promptly cleaned up and waste properly disposed.

- All broken glass should be disposed of in a labeled thick box lined with heavy duty trash bag. Do not pick up broken glass by hand. Use tongs or sweep up with a dustpan and brush. Drop broken glass gently into the box.

# Chapter 11. GENERAL GUIDELINES FOR SAFE HANDLING OF CHEMICALS

## Use of Fume Hood and Other Ventilated Enclosures

See CHAPTER 8

## Maintaining an Accurate Chemical Inventory

See CHAPTER 6

## COntainer Labeling

Regulatory Reference: 29 CFR 1910.1200(f)(6)(ii) requires that workplace labeling include “product identifier and words, pictures, symbols, or combination thereof, which provide at least general information regarding the hazards of the chemicals, and which, in conjunction with the other information immediately available to employees under the hazard communication program, will provide employees with the specific information regarding the physical and health hazards of the hazardous chemical.”

Note: Ready access to safety data sheets during all work hours satisfy the requirement for “other information that will provide employees with the specific information regarding the physical and health hazards of the chemical”.

Chemical container labels must be designed to clearly inform users of the identity of the contents, the hazards of the substance and safety information such as handling precautions and storage or disposal requirements. OSHA has adapted the GHS standard for labeling of hazardous chemicals. All chemical containers shipped by manufacturers and distributors are required to have pictograms, a signal word, hazard and precautionary statements, the product identifier, and supplier identification.

The responsibility of the user is simply to make sure that the original container label remains attached on the containers and still readable, unaltered and not defaced.  Age and environmental conditions such as humidity and temperature or spills on the outside of the container will cause the original label to deteriorate.  At this point, the user may decide to dispose of the chemical or relabel the container making sure that the new label contain all information that was on the original label.  The safety data sheet of the chemical will be the best source of this information. Use labels, ink and markings that are not dissolved by the liquid content of the container.

If the user, for some reason needs to transfer the contents of an original container to a new container, the label of the new container must include all the information that was on the original label.  Consult the safety data sheet for an accurate set of information. Solutions or mixture containers need to be labeled with the identity of the solution or mixture (include all components), the main hazard category (toxic, flammable, oxidizer, etc.), date prepared and name of the person who prepared the reagent.  Use the common full name of the chemical.  If abbreviations, chemical formulas or alternate names cannot be avoided, post a signage indicating the equivalent full names of the abbreviations, chemical formulas or alternate names used.

## Proper Storage

There are five important considerations for proper storage of chemicals: allowable quantities, location, segregation, storage cabinet, and environmental conditions.

Allowable Quantities

The amount of flammable, toxic, pyrophoric and corrosive chemicals that are allowed for use and storage in a research space is regulated by the International Fire code. Likewise, there are specific chemicals that are regulated the CFAT act.  Our university is not allowed to exceed the threshold amount allowed by the CFAT for the listed chemicals.  EH&S monitors this information based on chemicals inventories submitted by our labs and during our safety inspections. It is a prudent practice to maintain the lowest possible quantities of highly hazardous chemicals

Location

Store hazardous chemicals below shoulder level to about 2 feet off the floor.  If space is limited and floor storage is necessary, place containers in secondary containment such as a closed plastic tote.  If users need to reach up to retrieve containers above shoulder level, the potential for containers to get dropped and contents spilling on the user is very likely.  Containers stored directly on the floor may get bumped or may come into contact with water should there be flooding in the lab.  Other locations that are to be avoided for storage are fume hoods, cabinets under the sink, near heat sources,

Storage Cabinet

Hazardous chemicals must be stored in appropriate cabinets (Table 4). Cabinets or shelving should be sturdy and secured to the wall. Shelves should be fitted with a barrier or lip at least 1-1/2 inches high to prevent chemicals from falling off the shelves. Corrosives should be stored in wooden or plastic laminate cabinets, if possible. Metal cabinets are not recommended for storage of corrosives. Chemicals should not be stored under the sinks in a lab.  Secondary containment is advised for liquids and for reactives; for liquids secondary containment may be a dish pan; for reactives secondary containment may be a Ziploc baggie.

If a chemical cabinet or storage area is ventilated, the ventilation system must exhaust through the fume hood exhaust system or be independently ducted to the outside of the building. Cabinets shall not be ventilated through the fume hood work surface. Contact EH&S with questions about ventilation in your chemical storage area.

Segregation

Chemicals must be segregated according to this order: substance form (liquid or solid), chemical family (organic or inorganic), hazard class, and compatibility within the hazard class. Chemicals that may react violently (Table 5) with each other must be stored in separate cabinets that are clearly labeled. Assign separate storage areas for the following general hazard classes. However, always cross-reference safety data sheets to determine incompatibilities within general hazard classes.

Accidental contact between incompatible chemicals can result in a fire, an explosion, the formation of highly toxic and/or flammable substances, or other potentially harmful reactions: Oxidizers mixed with flammable solvents can cause a fire. Acids mixed with metal dust can produce flammable hydrogen gas. Alphabetical storage can bring incompatibles together. For example, if chromic acid (an oxidizing acid) and chromium powder (a combustible metal) were stored together and an accident broke their containers, the chemicals could mix and react with explosive violence

Multiple hazard classes. Many chemicals belong to more than one chemical family or hazard class. In such cases, all storage rules must be strictly observed. For example, acetic acid is both a corrosive acid and a combustible liquid. It must be stored away from corrosive bases, such as sodium hydroxide, and away from oxidizing acids, such as nitric acid

Table 4. Compatible storage cabinets for various chemical families.

| Substance Form (Phase) | Substance Family | Incompatibilities within substance family | Type of Storage Cabinet |
| --- | --- | --- | --- |
| Solid | Dry salts and other substances not belonging to hazard class below |  | Open wooden, metal or plastic shelves |
|  | Dry bases |  | Open wooden or plastic shelves |
|  | Dry acids |  | Open wooden or plastic |
|  | Dry poisons |  | Any closed cabinet equipped with a lock |
|  | Dry oxidizers |  | Open wooden, metal or plastic shelves |
|  | Corrosive bases (liquids) |  | Laminated or epoxy-coated wooden cabinets with plastic-lined shelves or commercial cabinets specifically designed for corrosives designed for corrosives |
|  | Corrosive inorganic acids | Store away from reactive metals such as sodium, potassium, finely divided magnesium, or zinc. Segregate oxidizing acids, such as nitric, perchloric (heated above room temperature), and chromic from other mineral acids, organic acids, and combustible/flammable materials and liquids Segregate acids from cyanides and sulfides, such as sodium cyanide and iron sulfide that could liberate toxic gases upon contact | Laminated or epoxy-coated wooden cabinets with plastic-lined shelves or commercial cabinets specifically designed for corrosives |
|  | Corrosive organic acids | Many organic acids, like glacial acetic acid, are combustible and consideration should be given to storing combustible organic acids in a flammable liquid storage cabinet | Laminated or epoxy-coated wooden cabinets with plastic-lined shelves or commercial cabinets specifically designed for corrosives |
|  | Flammable and combustible organic liquids and solvents | If flammable liquids need to be refrigerated, a lab-safe (flammable materials storage) refrigerator, purpose-designed, manufactured and labeled by the manufacturer for storing flammable liquids, must be used. Do not store flammable liquids in standard, residential-type refrigerators. Safety cans or drums dispensing or receiving flammable liquids must be grounded and bonded when transferring liquids. | Flammable cabinet, not vented |
|  | Flammable solid | 1. These materials react violently in the presence of water, including water vapor as humidity in ambient air. Toxic or flammable gases may be evolved or the material may catch fire on contact with air. Review SDSs, manufacturer's recommendations, and other references carefully for proper storage conditions. 2. Elemental lithium, potassium, and sodium must be stored under mineral oil. |  |
|  | Liquid oxidizers | Segregate oxidizers from reducing agents like hydroxylamine, sulfur dioxide, oxalic acid, alkali metals, and formic acid. Segregate oxidizers from flammable/combustible liquids and solids. Flammable/combustible liquids and solids contribute fuel to the reaction. Oxidizers contribute oxygen to a reaction and can cause the reaction to rapidly get out of control |  |
|  | Reactives (water) | Storage area needs to be a moisture-free environment | Closed wooden or plastic cabinets |
|  | Reactives (air)/pyrophorics, |  | Glove boxes under inert atmosphere |
|  | Reactives (light/wavelength), |  | Closed wooden or plastic cabinets away from sources of light |
|  | Odorous substances |  | Cabinet vented through the fume hood or any cabinets if containers are double bagged to minimize escape or odor |
|  | Compressed gases |  | See Chapter 13 |
|  | Explosives |  | Contact EH&S |

Table 5. Specific chemical incompatibilities.

| Chemical | Is Incompatible With |
| --- | --- |
| Acetic acid | Chromic acid, nitric acid, perchloric acid, peroxides, permanganates |
| Acetylene | Chlorine, bromine, copper, fluorine, silver, mercury |
| Acetone | Concentrated nitric acid and sulfuric acid mixtures. |
| Alkali and alkaline earth metals (such as powdered aluminum or magnesium, calcium, lithium, sodium, potassium) | Water, carbon tetrachloride or other chlorinated hydrocarbons, carbon dioxide, halogens |
| Ammonia (anhydrous) | Mercury (in manometers, for example), chlorine, calcium hypochlorite, iodine, bromine, hydrofluoric acid (anhydrous) |
| Ammonium nitrate | Acids, powdered metals, flammable liquids, chlorates, nitrites, sulfur, finely divided organic or combustible materials |
| Aniline | Nitric acid, hydrogen peroxide |
| Arsenical materials | Any reducing agent |
| Azides | Acids |
| Bromine | See chlorine |
| Calcium oxide | Water |
| Chlorates | Ammonium salts, acids, powdered metals, sulfur, finely divided organic or combustible materials |
| Chromic acid and chromium trioxide | Acetic acid, naphthalene, camphor, glycerol, alcohol, flammable liquids in general |
| Chlorine | Ammonia, acetylene, butadiene, butane, methane, propane (or other petroleum gases), hydrogen, sodium carbide, benzene, finely divided metals, turpentine |
| Chlorine dioxide | Ammonia, methane, phosphine, hydrogen sulfide |
| Copper | Acetylene, hydrogen peroxide |
| Cumene hydroperoxide | Acids (organic or inorganic) |
| Decaborane | Carbon tetrachloride and some other halogenated hydrocarbons |
| Flammable liquids | Ammonium nitrate, chromic acid, hydrogen peroxide, nitric acid, sodium peroxide, halogens |
| Fluorine | Everything |
| Hydrofluoric acid (anhydrous) | Ammonia (aqueous or anhydrous) |
| Hydrogen peroxide | Copper, chromium, iron, most metals or their salts, alcohols, acetone, organic materials, aniline, nitromethane, combustible materials |
| Hydrogen sulfide | Fuming nitric acid, oxidizing gases |
| Hypochlorites | Acids, activated carbon |
| Iodine | Acetylene, ammonia (aqueous or anhydrous), hydrogen |
| Mercury | Acetylene, fulminic acid, ammonia |
| Nitrates | Sulfuric acid |
| Nitric acid (concentrated) | Acetic acid, aniline, chromic acid, hydrocyanic acid, hydrogen sulfide, flammable liquids, flammable gases, copper, brass, any heavy metals |
| Nitrites | Acids |
| Nitroparaffins | Inorganic bases, amines |
| Oxalic acid | Silver, mercury |
| Oxygen | Oils, grease, hydrogen, flammable liquids, solids, or gases |
| Phosphorous (white) | Air, oxygen, alkalis, reducing agents |
| Potassium | Carbon tetrachloride, carbon dioxide, water |
| Potassium perchlorate (see also chlorates) | Sulfuric and other acids |
| Potassium permanganate | Glycerol, ethylene glycol, benzaldehyde, sulfuric acid |
| Selenides | Reducing agents |
| Silver | Acetylene, oxalic acid, tartaric acid, ammonium compounds, fulminic acid |
| Sodium | Carbon tetrachloride, carbon dioxide, water |
| Sodium nitrite | Ammonium nitrate and other ammonium salts |
| Sodium peroxide | Ethyl or methyl alcohol, glacial acetic acid, acetic anhydride, benzaldehyde, carbon disulfide, glycerine, ethylene glycol, ethyl acetate, methyl acetate, furfural |
| Sulfides | Acids |
| Sulfuric acid | Potassium chlorate, potassium perchlorate, potassium permanganate, (similar compounds of light metals such as sodium, lithium) |
| Tellurides | Reducing agents |

## Transporting Chemicals

The risk for spills/releases and exposure is high during transport of chemicals. It is very important to follow these guidelines to minimize the potential for spills and releases to the environment and personnel exposure to chemicals.

Please note that transport of hazardous chemicals on a vehicle travelling on public road can be performed only by personnel who have completed the Department of Transportation (DOT) Hazardous Materials training and certification.  Anyone needing assistance with transporting hazardous chemicals from one building to another via a public road must consult with EH&S for assistance.

When transporting chemicals by walking short distances between labs within the same building or between two adjacent buildings, follow these guidelines:

- Individuals transporting chemicals must be familiar with the material’s hazards and know what to do in the event of a release or spill. Material Safety Data Sheets (MSDSs) are a good source for this information.

- Materials that are unstable, explosive, or extremely or acutely hazardous should not be moved without first contacting EH&S.

- Hazardous chemicals must be attended at all times while being transported.

- Use puncture or break resistant approved secondary containers. Approved secondary containers are defined as commercially available bottle carriers made of rubber, metal, or plastic, with carrying handle(s), resistant to the chemical being transported and large enough to hold the contents of the chemical container in the event of breakage.

- Use secondary containment that is capable of containing all materials in the event of a spill. Acceptable secondary containers include plastic bottle carriers with closed tops and handles and liquid-tight carts with lips on all four sides.

- Label primary containers with the material’s chemical name and its hazards (e.g., “Acetone Caution—Flammable”). Secondary containment that obscures a primary container’s labeling must be labeled with the same information.

- Never transport non-compatible chemicals in the same secondary containment or in any way that might allow the chemicals to combine or react.

- Use sturdy carts for transporting multiple, large, or heavy containers. Carts used for secondary containment must have a liquid-tight tray with lips on four sides.

- Wear appropriate Personal Protective Equipment (PPE). Safety glasses, lab coats, and impermeable gloves are some of the PPE that should be worn if hazardous chemicals might splash on skin or eyes if spilled during transport.

- Use appropriate PPE including eye protection in the form of face shield or goggles, heavy gloves, heavy apron, and closed-toe shoes.

- Transport compressed gas cylinders only with the valve covers screwed on and when securely attached to a compressed gas cart.

- When transporting cylinders of compressed gases, always strap the cylinder in a suitable hand truck and protect the valve with a cover cap.

- Use freight elevators for moving chemicals between floors. If freight elevators are not available, use uncrowded passenger elevators. Stairs should be used only if elevators are not available.

- Transport cryogens only in approved storage vessels (e.g., dewar flasks with pressure relief mechanisms).

- Immediately update chemical inventories to reflect the relocation of chemicals.

## Shipping Hazardous Chemicals

Regulatory Reference:  49 CFR, Parts 100 to 185

Lab personnel may not ship hazardous materials including hazardous chemicals, infectious substances, radioactive materials, compressed gases, dry ice, liquid nitrogen, lithium batteries and more unless they have received training and certification from the U.S. Department of Transportation.

The U.S. Department of Transportation (US DOT) requires shipping training and that covers packaging and labeling of hazardous materials, the associated documentation, fines for non-compliance, and potential legal action if you are found to have willfully ignored hazardous materials shipping regulations.

International shipments may also be subject to import/export requirements.

For assistance in shipping hazardous chemicals, biohazardous materials, and radioactive materials, contact EH&S at (803) 777-5269.

Shipping Guides

- Fedex

- UPS

# Chapter 12. CHEMICAL HAZARDS

## COMING SOON

# Chapter 13. COMPRESSED GASES

## Check our webpage

# Chapter 14. PHYSICAL HAZARDS

## COMING SOON

# Chapter 15. HIGHLY HAZARDOUS CHEMICALS, EQUIPMENT AND PROCESSES (HCCPs)

## Criteria for Determining HCCPs

The following categories of hazardous substances, equipment and processes presents extreme hazards to personnel and requires written SOPs even for a single event where they are used.

- OSHA select human carcinogens, reproductive toxins, mutagens, teratogens

- compressed gases especially those that are flammable, reactive, corrosive, and toxic

- HF

- Organic mercury

- unstable compounds that may explode (i.e., expired peroxide formers, dry picric acid),

- pyrophoric materials, and

- highly toxic liquids and solids

- pressurized systems

- equipment that poses significant physical hazards (cut, pinch, crush, high voltage, high pressure, extreme temperature, others)

- Category 1or 2 rating for all hazard classes (except environmental hazards) according to GHS classification

- Process that involves the use of any one or combination of the above

## Prior Approval for Work with HCCPs

Prior to purchasing highly hazardous substances (i.e. HF, gas that is toxic, corrosive or pyrophoric, unusual large volume of flammable gases or liquids, pyrophoric liquids, explosive compounds) and prior to starting highly hazardous experiments or tasks (i.e., high pressure, potentially explosive, may result in serious injury), lab personnel must seek approval from the lab Supervisor, and consult with EH&S and or Chemical Safety Committee.  EH&S and the Committee will assist with performing a hazard and risk assessment and identifying required controls to ensure that the materials can be handled safely or that the experiment or task can be performed safely.  Submit a brief description of the research plan and methodologies, listing all hazardous substances, equipment and processes involved to jlocke@mailbox.sc.edu to initiate the consultation.

All new procedures should be subjected to EH&S and peer review, only from a scientific standpoint, but also to ensure that all controls are in place prior to performing the procedure.  The use of highly hazardous substances and processes requires the prior approval from Principal Investigator and EH&S, and sometimes from the Chemical Safety Committee in cases where:

- there is a new methodology, even if it is very similar to established procedures;

- there is a change or substitution of any of the ingredient chemicals in the procedure;

- there is a substantial change in the amount of chemicals used; usually one should review safety practices if the volume of chemicals used increases by 20% or more;

- there is a failure of any of the equipment used in the process, especially safeguards such as fume hoods or clamp apparatus;

- there are unexpected test results. When a test result is different than predicted, a review of how the new result impacts safety practices must be made;

- where members of the laboratory staff become ill, suspect exposure, smell chemicals, or otherwise suspect a failure of engineered safeguards.

# Chapter 15. MANAGING LAB WASTE

## Hazardous Waste Disposal

Various types of wastes are generated in laboratories. Disposal of wastes is a responsibility of the generator of the waste.  Researchers must plan purchases and use of chemicals with minimizing generated waste in mind.  Please note the university's high hazard and unknown waste minimization policy [pdf].  The most common laboratory wastes and how to dispose of them are described below:

- Hazardous (chemical) waste – picked up by EH&S every Wednesday from lab storage areas.  Lab personnel collects wastes in EH&S provided containers, label and store them, and sends pick-up requests online.

  - Process generated waste – chemical wastes generated from experiments and processes performed in the lab are to be collected and disposed of through EH&S.  Only compatible chemicals may be combined in a waste container. Halogenated compounds should be collected in a separate container from other organic compounds.

  - Old, expired, and/or unwanted chemicals in their original container may be offered for disposal through EH&S.

  - Unknowns - treat all unknowns as hazardous waste.  Label with hazardous waste tag and write UNKNOWN and its possible identity.  Gather information about the unknown from past or present members of the lab group to determine possible identity of the material.

  - Peroxide formers (Table 6)

  - Waste that generate gas - Two common mixtures such as aqua regia (nitric acid + hydrochloric acid) and piranha (sulfuric acid + hydrogen peroxide) tend to produce gas and must be stored carefully to prevent pressurizing or exploding containers.  These and other similar mixtures must be stored in approved waste containers that have special vented caps. These containers can be requested from EH&S.

  - Mercury containing items such as thermometers, thermostat switches and manometers must be collected for proper disposal through EH&S and not disposed in the trash.

- Biohazard waste

- Radioactive waste

- Mixed waste

  - Mixed wastes are materials contaminated with two or more of chemical, biological or radioactive agents. Avoid generating mixed wastes as much as possible. Call EH&S 803-777-5269 to determine the best way to dispose of mixed wastes.

- Empty chemical containers

  - Make sure that the container is empty.

  - Check if the chemical is p-listed. If chemical is p-listed, tag as hazardous waste and request EH&S pick-up online.

  - If chemical emits strong odors, tag as hazardous waste and request pick-up online.

  - If chemical is not p-listed:

    - Remove label or simply deface by crossing out label completely using a marking pen (label should be unreadable).

    - If container is plastic, dispose as regular trash.

    - If container is glass, place in sturdy cardboard box. Tape the box closed, label with “EMPTY GLASS BOTTLES” and place in dumpster.

- Broken glass and small glass items (pipettes, stirring rods, sample bottles)

  - If contaminated with biological or radioactive materials, see #2 and #3.

  - If contaminated with p-listed chemicals, collect in 5-gallon plastic bucket with a lid and request EH&S pick-up online.

  - If not contaminated with biological and radioactive materials or p-listed chemicals:

    - Place in 5-gallon plastic bucket with a lid. When bucket is full, dispose in the dumpster.

    - Alternatively,  use a small or medium-sized, thick cardboard box lined with heavy duty trash bag or a commercially available broken glass box pre-lined with a plastic bag. A thick cardboard and a thick plastic lining are necessary to catch any excess liquid and small glass pieces.  This will also keep sharp edges from poking through the box. Do not use large boxes; they are very heavy for lifting when full of broken glass.

    - Once the box is full, tape the box securely. Label with “ Broken Glass”.

    - Place box in the dumpster.

    - NOTE: Broken glass must not be transferred from a transitional container to another due to increased risk of injury from unnecessary additional handling of broken glass.  Once a box is filled with broken glass, the box must be taped up and discarded.  If a plastic bucket with lid is used for collecting broken glass, the plastic bucket must be discarded with the broken glass.  Contents may NOT be transfered to another container to save the bucket.

- Sharps including syringes and needles, blade, scalpels

  - Collect in leak-proof, puncture resistant container and dispose in biohazard box.  For location of biohazard boxes, call the Biosafety Office at (803) 777-1625.

- Non-glass, solid wastes

  - Include paper towels, filter paper, weighing boats, plastic pipette tips, disposable plastic pipettes, and others

  - Check if the chemical contaminant is p-listed. If chemical is p-listed, collect solid waste in 5-gallon bucket with a lid and also lined with plastic bag. Tag as hazardous waste and request EH&S pick-up online.

  - If chemical contaminant is NOT p-listed, collect as normal trash.

- Gas cylinders

  - Empty gas cylinders must be returned to the vendor.  If the cylinder is old and the vendor who owns the cylinder cannot be determined, contact EH&S to determine the best way to dispose of the "orphaned" cylinder.

- Lecture bottles

  - EH&S recommends that researchers purchase lecture bottles from vendors who will accept partially full or empty containers when they are no longer needed in the lab.  The disposal of lecture bottles is very expensive. If the vendor or supplier will not accept an
unwanted lecture bottle, contact EH&S to arrange for its disposal.

- DEA Controlled Substances and other drugs

  - EH&S does not collect nor destroy DEA controlled substances or other drugs.  For information on this subject, consult the DHEC's Bureau of Drug Control, who enforces the S.C. Controlled Substances Act, which closely parallels the federal Controlled Substances Act of 1970.

  - For more information on DEA substance use on animal research, contact the Department of Laboratory Animal Resources (DLAR).

## Policy for Minimizing Hazardous Wastes and Unknowns

Regulatory Reference: 40 CFR, Parts 260-280.

The proper treatment, storage, and disposal of hazardous waste is regulated under 40 CFR 260-280, the Resource Conservation and Recovery Act (RCRA). There are two categories of hazardous waste: characteristic wastes and listed wastes.  Characteristic hazardous wastes are materials that are known or tested to exhibit one or more of the following four hazardous traits: ignitability, reactivity, corrosivity and toxicity. Listed hazardous wastes are materials specifically listed by regulatory authorities as hazardous wastes which are from non-specific sources, specific sources, or discarded chemical products.  Certain hazardous waste from these two categories may pose a significant threat to personnel and environment and as such, they are considered high-hazard wastes.

What is High-Hazard Waste?

High-hazard waste refers to chemicals that are inherently reactive and unstable or have become reactive and unstable due to age or their storage environment.  As such, these chemicals need to be stabilized and/or remediated before disposal.  For example, an old cylinder that has lost its label needs to be identified and remotely opened.  An old cylinder containing a toxic gas whose regulator froze in place needs to be handled by a hazardous materials professional before it can be packed for shipment and disposal. Diethyl ether that has expired needs to be stabilized before it can be safely transported for disposal.

What is an Unknown Waste?

All chemical wastes must be properly identified before they can be disposed of as hazardous waste. Many unknown chemicals are generated due to poor housekeeping and poor laboratory practices. A chemical container that is unlabeled, mislabeled, double-labeled or whose label has deteriorated may fall in the category of unknowns.  These unknowns cannot be properly disposed of until the content(s) of the container have been identified or profiled.

Purpose

A very high cost is associated with the disposal of high-hazard waste and unknown waste (Table 7).  Minimization of these types of waste will translate into substantial savings on hazardous waste disposal cost to the University of South Carolina.

Some Examples of High-Cost Hazardous Waste

- Unknowns

- Old cylinder with residual toxic or reactive gas, the supplier of which has gone out of business

- Peroxide formers past their expiration date or pre-determined shelf-life

- Organic peroxides

- Strong oxidizers

- Picric acid (solid)

- Dinitrophenol (solid)

- Water-reactive substances

While these are some commonly known high-hazard wastes, the list is certainly not all-inclusive and there are many others that pose a significant threat.

How to Minimize High-Cost Hazardous Waste

- Purchase a reasonable amount of chemicals needed for your experiments such that the amount left over is minimal after your research is finished.

- Properly tag and request a hazardous waste pickup for all chemicals in a lab BEFORE it is vacated so hazardous chemicals are identified and disposed of, not inherited by the next Principal Investigator (PI) assigned to the lab.

- Eliminate or minimize unknowns.

- Be vigilant in labeling ALL chemical containers, even those that contain water!

- Do not use formulas, abbreviations or chemical structures for labeling waste.

- Relabel containers with deteriorating labels before the label becomes unreadable.

- Completely deface original labels of containers that will be re-used.

- Manage the volume purchases, storage, use and inventory of peroxide forming chemicals.

- Purchase a reasonable amount of the peroxide former so that all of the contents are used up within the expiration date or predetermined shelf life (Table 6), whichever comes first.

- Label peroxide former containers with cautionary label provided by EH&S (Figure 2).

- Dispose of peroxide formers before they expire or before their pre-determined shelf life, whichever comes first.

- Store under inert gas or purchase peroxide formers with inhibitors, if available and if allowed by your methodology.

- Keep chemical containers tightly closed, since oxygen is needed for peroxide formation.

- Store in opaque containers away from sources of light.  Exposure to light will accelerate the formation of peroxides.  Amber glass is effective to protect the chemical from light exposure while also enabling the user to view the chemical without opening the bottle.

- Any peroxide forming chemical with visible discoloration or crystallization should be treated as potentially explosive.  Do not attempt to move or open these containers.

- Manage the volume purchases, storage, use and inventory of compressed gases, especially gases that are flammable, corrosive, toxic and/or reactive.

- Inspect all gas cylinders for intact labels.  If the label is compromised, return the cylinder to the vendor immediately.

- Check the test date stamped on the cylinder.  If the cylinder has been stored in your lab long enough so that the hydrostatic test date is outdated, return the cylinder to the vendor immediately.  For example, if today is March 1, 2017, all cylinders with stamped date reading “02-28-2007” and before this date, followed by a star symbol are outdated and need to be returned.

- Remove the regulator from the gas cylinder if the cylinder will not be used for a long time.  Keeping the regulator attached to the cylinder for long periods can cause it to freeze in place.

Consequence of Non-Compliance with this Policy:

The Environmental Health and Safety Department (EHS) has the authority and responsibility for the collection, transport, temporary storage, and disposal of hazardous wastes. Individual laboratories are responsible for minimizing high hazard wastes properly managing the waste generated in their lab by complying with university policies for hazardous waste management. Non-compliance with this policy may result in the accumulation of high-hazard waste and/or unknown waste in your laboratory.

EH&S coordinates and pays for the routine disposal of all hazardous waste through the University’s hazardous waste vendor if the waste is properly managed in the laboratory.  However, when a laboratory generates high-hazard or unknown waste as a result of not following the strategies listed above, the disposal cost for this waste will be charged back to the Department where the waste was generated.  E&HS may also charge the department when hazardous wastes are not properly tagged for pickup and a waste pickup request is not submitted for all wastes remaining in a lab that has been vacated (e.g., PI retires or relocates to another lab).  Table below illustrates the estimated cost of disposal for a gas cylinder with a toxic gas and expired peroxide formers.

Types of Compounds Known to Autoxidize to Form Peroxides

- Ethers containing primary and secondary alkyl groups (never distill an ether before it has been shown to be free of peroxide

- Compounds containing benzylic hydrogens

- Compounds containing allylic hydrogens (C=C—CH)

- Compounds containing a tertiary C—H group (e.g., decalin and 2,5-dimethylhexane

- Compounds containing conjugated, polyunsaturated alkenes and alkynes (e.g., 1,3-butadiene, vinyl acetylene)

- Compounds containing secondary or tertiary C—H groups adjacent to an amide (e.g., 1-methyl-2-pyrrolidinone)

Table 6. Chemicals that can form peroxides (this list is not inclusive; see above).

| Class | Characteristic | Disposal Schedule | Examples |
| --- | --- | --- | --- |
| A | SEVERE PEROXIDE HAZARD. Chemicals that form explosive levels of peroxides without concentration. | Discard within 12 mo. of date received, within 3 mo. of date opened, or within manufacturer expiration date, whichever comes first. | Isopropyl ether Sodium amide (sodamide) Butadiene (liquid monomer) Tetrafluoroethylene Chlorobutadiene (chloroprene) Divinyl acetylene Potassium amide Vinylidene chloride Potassium metal |
| B | CONCENTRATION HAZARD These chemicals are a peroxide hazard on concentration (distillation/evaporation). | Discard within 12 mo. of date received, within 6 mo. of date opened, or within manufacturer expiration date, whichever comes first. | Acetal Dioxane (p-dioxane) e.g. 1,4 dioxane Cumene Ethylene glycol dimethyl Cyclohexene ether (glyme) Cyclooctene Furan Cyclopentene Methyl acetylene Diaacetylene Methyl cyclopentane Dicyclopentadiene Methyl-isobutyl ketone Diethylene glycol dimethyl Tetrahydrofuran Ether (diglyme) Tetrahydronaphthalene Diethyl ether Vinyl ethers |
| C | SHOCK AND HEAT SENSITIVE Unsaturated monomers that may autopolymerize as a result of peroxide accumulation if inhibitors have been removed or are depleted. DO NOT purchase in uninhibited form! | Discard within 12 mo. of date received, within 6 mo. of date opened, or within manufacturer expiration date, whichever comes first. If substance does not have inhibitor, discard within 24 hours of opening the container! | Acrylic acid Styrene Butadiene (gas) Vinyl acetate Chlorotrifluoroethylene Vinyl chloride Ethyl acrylate Vinyl pyridine Methyl methacrylate |

Table 7.  Sample costs of high-hazard waste disposal.

| Waste | Stabilization, Remediation | Disposal cost in $ |
| --- | --- | --- |
| One small cylinder each of diethylsilane and chlorine; regulator frozen in place; cylinders attached to a network of tubings and fittings | Hazmat professional was hired to remove the frozen regulator; cap the cylinder and package them from transport | 1995 |
| Expired diethylether | Remote opening and stabilization | 1000 per event plus disposal fee for the chemical |

Figure 2. Container labels

CAUTION

Class A PEROXIDE FORMER Important: Circle earliest discard date. Date Received ________________ discard by ________________ (12 months after date received) Date Opened ________________ discard by ________________ (3 months after date opened) Manufacturer's expiration date __________________ Call EH&S 777-5269 if chemical is kept past the earliest discard date.

CAUTION

Class B PEROXIDE FORMER Important: Circle earliest discard date. Date Received ________________ discard by ________________ (12 months after date received) Date Opened ________________ discard by ________________ (6 months after date opened) Manufacturer's expiration date __________________ Call EH&S 777-5269 if chemical is kept past the earliest discard date.

CAUTION

Class C PEROXIDE FORMER Important: Circle earliest discard date. Date Received ________________ discard by ________________ (12 months after date received) Date Opened ________________ discard by ________________ (6 months after date opened) Manufacturer's expiration date __________________ Call EH&S 777-5269 if chemical is kept past the earliest discard date.

# Chapter 16. EMERGENCY RESPONSE AND LAB PREPAREDNESS

## Emergency Procedures

All EMERGENCIES

- Call 911 for all medical and other life-threatening emergencies.

- Provide the following information to 911 dispatch

  - Your name and phone#

  - Incident location: this address, building and room#

  - Injured person, if any, specific injury and location; request ambulance if needed

NOTICE:

You may assist an injured person if your safety will not be compromised by doing so and you have instructions from a designated emergency call center or a medical personnel over the phone.

  - Hazardous materials involved, if known

  - What happened; describe activities that caused the incident and your initial response

  - Other relevant information that may help responders evaluate and stabilize the incident

If you see smoke, suspect a fire or for any emergency requiring building evacuation:

1.  Pull an emergency fire alarm.

2.  Evacuate the building using the nearest exit stairway.  Notify coworkers and everyone else of the emergency on your way out. When the fire alarm sounds, all personnel, without exception, are required to leave the building.

3.  Call 911 and provide information listed above.

4.  Proceed to the designated assembly point.

Evacuation information

Fire alarms are pulled during emergencies that require you to leave the building. It is best practice to know the location of the nearest fire alarm, the nearest stairway and your specific assembly point where everyone gathers outside of the building.

- Proceed to the nearest exit route and use the stairway to exit the building. DO NOT USE THE ELEVATOR!

- Proceed to your assembly point.  Your designated floor Coordinator will take attendance to ensure that everyone had safely evacuated.

- If you can provide information about the incident, proceed to the Incident Command on site. This is usually an SUV marked “Incident Command”.

- Do not re-enter the building until the Incident Commander has declared that it is safe to return.

If there is a fire in your laboratory

Lab personnel are not required to extinguish fires.  You may attempt to extinguish the fire if ALL of the following is true:

- the fire does not emit overwhelming smoke and other toxic gases

- you are positioned between the fire and an exit door

- the fire has just started and is small in size (the size of a regular trash can),

- you have completed the Fire Safety training,

- you know that the type of fire extinguisher is appropriate for the existing fire, (ABC fire extinguishers are available in all laboratories; note that fires involving reactive metals need a class D fire extinguisher)

- and you know how to use the fire extinguisher.

If the fire is not extinguished within 10 seconds or so, and is increasing in size, proceed to evacuate the building.

Note that fires in small open containers can usually be suffocated by loosely covering the container.

ABC Fire Extinguishers use a pale yellow monoammonium phosphate powder, a dry chemical with the ability to quickly put out Class A, Class B and Class C fires by smothering the flames.

- Class A fire involves trash, wood, and paper, cloth, rubber, plastic, etc.

- Class B fire involves flammable liquids, solvents, oils, gasoline, paints, etc.

- Class C fire involves energized electrical sources, wiring, motors, appliances, etc.

A Class D fire extinguisher uses dry powder and is used on fires involving combustible metals, such as magnesium, titanium, sodium, etc., which require an extinguishing medium that does not react with the burning metal.

Any time a fire extinguisher is used, no matter for how brief a period, it should be inspected and recharged. For recharging and or replacement of fire extinguishers, call EH&S at (803) 777-5269.

If your clothing catches on fire

- “STOP, DROP and ROLL” is the best way to extinguish small clothing fires. (If someone is on fire, instruct the person to drop to the ground and to roll back and forth).

- Cover your face with your hands.

- Once the fire is extinguished, wrap the injured person with a blanket to prevent shock.

- Seek immediate medical care by calling 911.

NOTICE

- Never use a fire extinguisher on a person.

- Use a fire blanket to help smother the flames on a person lying down. Remember that wrapping the person with fire blankets will contain the heat and may cause the burn injury to be worse.

- A damp towel may be used if the fire does not involve water-reactive chemicals.

- An emergency shower may be used to extinguish the fire if it is the immediate vicinity of the person.  If the person has to take even a few steps, the fire is likely to get bigger and bigger before the person can get to the shower.

If there is a chemical spill

Laboratories must be equipped to respond to spills and release of chemicals by making sure that spill response procedure is developed, spill kits are available and lab personnel are trained on how to recognize small vs. large spills and trained on how to clean up small-scale spills.

A small spill is contained, controlled, can be cleaned up by trained personnel using the available spill kit in the lab and available PPE is sufficient to prevent personnel exposure to the material that was spilled.  A “large” spill is not contained, uncontrolled and volume is large so that the spill kit in the lab is not sufficient to contain and clean up the spill, special PPE is required to prevent exposure, and or the substance is highly flammable or very toxic.  If a spill presents a risk of exposure (by inhalation for example) or risk of fire, assistance from EH&S, UofSC Police Department and/or or 911 must be obtained as necessary.  University custodians are not trained and are not to be called upon to clean up chemical spills in the laboratory.

Experiments should always be designed to minimize the possibility of an accidental release of hazardous substances. Plan your experiments to use the minimal amounts of hazardous substances and transport such materials properly using break-resistant bottles or secondary containers. Develop a contingency plan to handle spills when working with hazardous substances. When a spill occurs, the following procedure should be followed:

1.	Determine if it is a “major” or “minor” spill.  A minor spill is one that is contained (i.e., inside fume hood) or small enough that it can be cleaned up safely with the spill kit available and where special personal protection (i.e. respirator) is not required.

2.	Assist anyone who may have been contaminated or injured during the spill.

3.	Always clean up a spill as soon as possible depending on the nature of the spill.

4. If a major spill:

  - Call UofSC Police (803) 777-4215 and EH&S (803) 777-5269 for major spills and spills with mercury or hydrofluoric acid (HF).

  - Contain a major spill with appropriate absorbent, only if it can be done safely (i.e., spilled chemical is not volatile and does not pose an inhalation hazard).

  - Post “Spill in Progress, DO NOT ENTER” on entrance door and evacuate the area.

  - Do not re-enter until Emergency Responders have cleaned up the spill and declared the building and laboratory safe for reentry.

- If a minor spill:

- Put on safety goggles, gloves resistant to spilled chemical, and lab coat. Put on disposable shoe covers to prevent contamination of your shoes.

- Place absorbent or neutralizers around the edge of the spill, moving inwards.

- Let the covered spill sit for 15-30 minutes to ensure that the chemical is fully neutralized and that the aerosols, if any, has settled.

- Collect the absorbed/neutralized spill materials in a sealable plastic. Seal the plastic and place inside a solid waste container.

- Label the container as hazardous waste and request pick-up by EH&S.

- Spray soapy water on the surface of the spill area and wipe with paper towels. Collect used paper towels as hazardous waste.

NOTE: Cleaning up spills of highly toxic materials should be delegated to properly trained individuals such as EH&S Spill Response Team and Columbia Fire Department personnel.  If the spilled materials is highly volatile and flammable, ignition sources and open flames must be turned off immediately if safe to do so and will not compromise your personal safety.

If your eyes were splashed with chemicals

- Procced to the nearest eyewash.  Push the lever to start the water flowing.

- Make sure your hands are not contaminated. Wash off contaminants from your eyes by holding your eyes open to get the water under your eyelids. Move your eyes around to make sure all parts of the eyes get decontaminated.

- Continue for at least 15 min to wash off contaminant.

- Proceed to an eye clinic for follow-up medical treatment. During your doctor visit, bring the safety data sheet of the chemical you were exposed to.

If your skin were splashed with chemicals

For spills covering small area of hands or arms:

- Immediately wash with running water for 15 minutes. If not visible burn, wash with water and soap, removing any jewelry that gets in the way.

- Proceed to the Center for Health and Well-being or the nearest emergency room for follow-up medical treatment. During your doctor visit, bring the safety data sheet of the chemical you were exposed to.

For spills covering a large area of skin and/or clothing:

- Proceed to the nearest emergency shower. Remove contaminated clothing, shoes, and jewelry to effectively wash off contaminants. (Contaminated clothes should be discarded).

- Pull the emergency shower lever to start the flow of water. Stay under the water for 15 minutes.

- Proceed to the Center for Health and Well-being or the nearest emergency room for follow-up medical treatment. During your doctor visit, bring the safety data sheet of the chemical you were exposed to.

NOTE:  If your skin came into contact with concentrated HF, call 911 immediately.  Wash HF off for 5 minutes. With a gloved hand, apply liberal amount of calcium gluconate gel to affected area. Repeat application every 15 minutes until the emergency responder arrives and take you to the Emergency Room

If fume hood ventilation fails while working with an inhalation hazard:

- Close the fume hood sash.

- Advise lab occupants and neighboring labs to evacuate the area.

- Post “DO NOT ENTER, Contaminated Area” on entrance door.

- Call EH&S (803) 777-5269 or UofSC Police Department after office hours (803) 777-4215 to have the air contamination evaluated.

- Call Facilities (803) 777-9675 to arrange for fume hood repair.

## Safety Equipment and Maintenance Checks

To allow you to respond to minor incidents such as cuts, burns, chemical spill, chemical splash or small fires, the following safety equipment must be available in your laboratory: fire extinguisher, emergency shower and eyewash, chemical spill kit, and first aid kit. These equipment need to be visible, labeled, unobstructed and routinely checked and maintained in functional condition. Monthly checks for fire extinguisher, occasional checks for first aid kit and chemical spill kits, and weekly activation of emergency shower and eyewash need to be conducted according to the following procedures:

Monthly Inspection of Fire Extinguishers

If you are the lab manager or a designated person, inspecting fire extinguisher units inside your laboratory is one of your essential duties.  It is extremely important that fire extinguishers be inspected monthly to ensure that they are charged and in operating condition, ready for use in case a small fire starts in your work area.

Procedure

- Ensure that extinguisher is in designated location, visible, unobstructed and mounted securely on the wall.

- Check the pressure on the gauge.  Needle must be on GREEN zone.

- Check that the locking pin is in place and tamper seal is not broken.

- Check that the nozzle and tubing are not pinched, cracked or clogged.

- Check that there is no obvious physical damage to the cylinder.

- Check that the last professional service date on the hangtag is within the last 12 months.

- Record date of inspection on the hangtag attached to the cylinder.

- If fire extinguisher is missing, has expired tags, has been used, or is damaged, report immediately to EH&S Fire safety at 777-5269.

Figure 3. Fire extinguisher parts and hang tag.

Table 8. Minimum required supplies in first-aid kits

| First Aid Supply | Minimum Quantity | Minimum Size |
| --- | --- | --- |
| Adhesive bandage | 16 | 1 x 3 in. |
| Adhesive tape | 1 | 2.5 yd total |
| Antibiotic application | 10 | 1/57 oz. or 0.5 g |
| Antiseptic | 10 | 1/57 oz. or 0.5 g |
| Breathing barrier | 1 |  |
| Burn dressing (gel soaked) | 1 | 4 x 4 in. |
| Burn treatment | 10 | 1/32 oz. or 0.9 g |
| Cold pack | 1 | 4 x 5 in. |
| Eye covering, with means of attachment | 2 | 2.9 sq. in. |
| Eye/skin wash | 1 fl. oz total |  |
| First aid guide | 1 |  |
| Hand sanitizer | 6 | 1/32 oz or 0.9 g |
| Medical exam gloves | 2 pair |  |
| Roller bandage | 1 | 2 in. x 4 yd |
| Scissors | 1 |  |
| Splint | 0 | 4 x 24 in. |
| Sterile pad | 2 | 3 x 3 in. |
| Tourniquet | 0 | 1 in. wide |
| Trauma pad | 2 | 5 x 9 in. |
| Triangular bandage | 1 | 40 x 40 x 56 in. |

Table 9. Additional supplies for consideration

| First Aid Supply | Purpose |
| --- | --- |
| Low dose aspirin | Used to treat suspected heart attack |
| Hemostatic agent | For individuals with compromised clotting or uncontrollable bleeding |
| Electrolyte replacement | Heat-stress related injuries |
| Glucose replacement | Diabetic or hypoglycemic episodes |
| Analgesics (oral and/or topical)/anti-inflammatory | Pain management, swelling control |
| Hydrocortisone | Itchiness and skin-related reactions including rashes |
| Antihistamine | Allergic reactions |
| Foil blanket | Treat shock and/or cold-related injuries |

CONTENTS OF CHEMICAL SPILL KIT

Absorbents

- Universal Spill Absorbent – universal spill pillow or absorbent pads in commercial spill kits. Alternatively, a 1:1:1 mixture of Flor-Dri (or unscented kitty litter), sodium bicarbonate, and sand. This all-purpose absorbent is good for most chemical spills including solvents, acids (NOT for hydrofluoric acid), and bases.

- Hydrofluoric Acid - HF compatible spill pillow or liquid “HF acid eater”

- Solvents/Organic Liquid Absorbent - Inert absorbents such as vermiculite, clay, sand, Flor-Dri, and Oil-Dri.

Neutralizers

- Acid Spill Neutralizer - sodium bicarbonate, sodium carbonate, or calcium carbonate.

- Alkali (Base) Neutralizer - sodium bisulfate.

- Bromine Neutralizer - 5% solution of sodium thiosulfate and inert absorbent.

Personal Protective Equipment (PPE)

- Goggles and Face Shield

- Heavy Neoprene Gloves

- Disposable Lab Coat and Corrosive Apron

- Plastic Vinyl Booties

Tools for clean-up

- Plastic Dustpan and Scoop

- Plastic Bags (30 Gallon, 3 mm thickness) for contaminated PPE

- One Plastic Bucket (5-gallon polyethylene) with lid for spill and absorbent residues

Others

- For HF: calcium gluconate gel (always check expiration date)

- For mercury: aspirator bulb and mercury decontaminating powder

- For alkali metals: dry sand or a class “D” fire extinguisher

- For acid chlorides - Oil Dri, Zorb-All or dry sand

- Spill clean-up procedure

Emergency Shower and Eyewash Activation and Flushing

Figure 4. Emergency shower and eyewash maintenance checks and logs.

The American National Standard for Emergency Eyewash and Shower Equipment, ANSI Z358.1-2014, states that "Plumbed emergency showers and eyewashes shall be activated weekly for a period long enough to verify operation and ensure that flushing fluid is available." The intent is to ensure that there is a flushing fluid supply at the head of the device and to clear the supply line of any sediment build-up that could prevent fluid from being delivered to the head of the device and minimize microbial contamination due to sitting water.

Procedure for Emergency Eyewash (Perform weekly)

1. Locate floor drain. Use plastic tray to catch the water if the drainpipe does not extend to the floor drain or connect directly to an outgoing pipe.

2. Protect nearby objects from getting sprayed. These include electrical objects or personal items that you do not wish to become wet.

3. Gently push back the lever to begin water flow.

4. Allow water to flow until flowing water is clear.

5. Record the date on the emergency eyewash activation and flushing log.

Procedure for Emergency Shower (If combined with eyewash unit that is flushed weekly: perform every 3 months for old and every 6 months for new installations. If a standalone safety shower, activate and flush weekly)

1. Locate the safety shower water shut-off valve.  Verify that the valve can be opened and closed easily.

2. Ensure that there are no electrical equipment and other items near the safety shower.

3. Cover equipment and other items that may potentially be reached by water spray.

4. Pull lever or chain to activate the safety shower for 15 seconds or until the flowing water is clear.

5. Push lever back to stop water flow.  For safety shower activated by chains, the safety shower will stop after releasing 5 gallons of water.

6. Record the date on the emergency shower activation and flushing log.

## Post-exposure Treatment and Follow-up

All exposures involving biological, radioactive and chemical substances must be referred to a physician immediately following the exposure even if there appears to be no visible injury and other exposure symptoms.  Inform the attending physician about the materials you were exposed to and present the safety data sheet if available on hand or retrieve from an online source if possible.

## Lab Preparedness

Severe weather and other events like holiday closings cause interruption of normal business operations at UofSC.  Occasionally, the University deems it necessary to declare campus closure, in which case, only essential personnel are required to report to work.

During severe weather, lab personnel are expected to stop general operations and safely store and secure all hazardous materials, equipment and research data to minimize the risk of injury and property losses.  Consider the following questions when preparing to shut down laboratory operations for an extended period of time.

Emergency Plans

- Have 2-3 "essential personnel" in your laboratory been identified and their tasks clearly defined should there be a need to implement a lab shut down?

- Does your laboratory have a specific checklist for shutting down operations?

- Is the information current on the Hazard Information notice posted by the entrance door?

- Name and contact number for PI

- Name and contact number for Lab Manager or Group Safety Officer

- Hazards listed (chemical, biological, radioactive, others)

Hazardous Materials

- Are containers of chemical, radioactive, and biohazard materials securely capped, properly labeled and safely stored?

- Are containers of hazardous wastes securely capped, properly labeled, and safely stored?

- Have chemicals been removed from laboratory benches and open shelves, and stored in appropriate chemical cabinets?

- Are incompatible chemicals stored separately from one another?

- Are chemical containers stored above floor level in case of flooding?

- Are compressed gas cylinders properly secured and stored in an upright position?

- Do compressed gas cylinders that are not in use have their valve caps tightly secured?

- Is proper special storage ensured for chemicals that are air-reactive, water-reactive, or temperature sensitive?

- Are glove boxes sufficiently supplied with required gases to ensure an oxygen-free atmosphere for water and/or air-reactive chemicals stored inside?

Equipment

- Are critical equipment plugged into an emergency power outlet?

- Are non-critical equipment safely powered down and unplugged, if possible?

- If equipment needs to be kept powered, are measures in place to prevent surging?

- Are equipment stored above floor level in case of flooding?

- Are equipment covered with protective tarp or plastic sheets?

Experiments

- For experiments that take more than 24 hours to safely shut down and secure, do you have a shutdown procedure and what are the contingencies?

- If you are working with animals, have you made arrangements for protective care?

- Are all components of a critical long-term experiment (power, water, gas, equipment, etc.) secured and sufficient supply ensured to prevent interruption?

- Are non-critical and high hazard experiments stopped? Are equipment turned off and unplugged? Are gas supplies turned off? Is the main cylinder valve closed?

Research Data

- Is your intellectual property (lab notebooks, ledgers, CDs, laptops) safely stored and backed up?

# CHAPTER 17. ACCIDENT AND NEAR MISS REPORTING

The EH&S Office of Research Safety has developed incident and near miss reporting procedures for laboratory incidents. These procedures are designed to define, record, analyze and learn from accidents and incidents. The following procedures should be followed based on the incident circumstances.

Research Lab Incidents NOT Involving a Hazardous Material

- Follow the steps outlined in the UofSC Workers’ Compensation Guidance for Work Related Accidents or Injuries.

- Email Jocelyn Locke at jlocke@mailbox.sc.edu with a brief incident notification within 24 hours of any lab incident. Complete and submit the UofSC Laboratory Incident Report Form to EH&S [docx] within three days of the incident.

Research Lab Incidents Involving a Hazardous Material

- Follow the steps outlined in the UofSC Workers’ Compensation Guidance for Work Related Accidents or Injuries.

- Follow the hazard-specific incident response procedures and timelines based on the hazard involved:

Chemical hazards – See Chapter 16

Biological hazards – refer to your Biosafety Manual

Radiation hazards – refer to your Radiation Safety Manual

- Email Jocelyn Locke at jlocke@mailbox.sc.edu with a brief incident notification within 24 hours of any lab incident. Complete and submit the UofSC Laboratory Incident Report Form to EH&S [docx] within three days of the incident.

- All exposures to a hazardous material must be evaluated by a healthcare provider.

When a lab employee gets injured

Occasionally, work-related accidents or injuries happen. The University of South Carolina wants to ensure that these injuries are treated promptly and properly. That’s why UofSC partners with CompEndium Services 877-709-2667 to provide medical case management 24 hours a day/7 days a week. For all questions related to eligibility or treatment of work-related laboratory injuries, please contact the Benefits Office at (803) 777-6650.  Additional information is available on the UofSC Workers’ Compensation website.

If you have an injury, seek necessary medical care then contact Buddy Harley, EH&S Employee Safety Manager, right away at 803-528-8191. He will coordinate any required incident reporting to SC OSHA.

EH&S Incident Investigations

Responding appropriately to many types of incidents will require seeking medical care and reporting to multiple stakeholders. All lab incidents involving injury or exposure must be reported to EH&S after seeking initial medical care. When an incident is reported, EH&S will conduct an investigation and assist laboratory personnel to determine appropriate corrective actions. The incident investigation process enables us to learn from the incident and implement measures to prevent similar incidents in the future.

The investigation of accidents is conducted to reveal the factual circumstances related to the accident and not to assign blame to individuals. Accident investigations are conducted by the EH&S Chemical Hygiene Officer in collaboration with the laboratory personnel and other EH&S personnel involved in the response. The incident scene is examined after it is stabilized and cleared by authorized emergency responders. Unknown spills or residues will be sampled to determine the identity of the spilled materials/s. Employees involved in the accident and other witnesses will be interviewed and asked to provide written reports if needed. Conditions or circumstances deviating from normal will be noted. All potential causes will be listed. Based on the review of the incident, past operating experience, and lab personnel recommendations, the root cause of the accident will be determined. Suggestions will be made for correction of the immediate problem. Finally, corrective and preventive action will recommended for immediate implementation to avoid a similar accident from re occurring. During the investigation, all concerned individuals should avoid making non-factual or rumor-based statements related to the incident.

When a laboratory incident occurs, the Principal Investigator must review the incident report with all members of the laboratory and provide an opportunity to discuss the incident circumstances and lessons learned. Near misses and previous incidents provide opportunities for education and improvement only if they are appropriately documented, tracked, and communicated.

For non-emergency lab incidents that did not result in any injury and do not require immediate attention, please contact the EH&S Laboratory Safety Manager, Jocelyn Locke, at 803-777-7650 or jlocke@mailbox.sc.edu.

Safety Concerns & Near Miss Reporting

A near miss is considered any incident that did not result in personal injury, property damage or release into the environment, but given slightly different circumstances could have resulted in an accident. Examples include laboratory equipment failure, unexpected chemical reactions, non-compliance with safety policies or procedures, and general unsafe laboratory conditions that may result in an accident if the conditions are not addressed.

It is everyone’s responsibility to immediately report and correct potential hazards before they cause an injury or illness. The responsible personnel for reporting incidents, safety concerns and near misses includes senior administrators, department chairs, Principal Investigators, laboratory personnel or any other individual that becomes aware of a hazardous situation.

Completing a Near Miss Report Form [docx] is one important way to document a hazardous situation and any change that is made to prevent its recurrence. These reports should be submitted to the Principal Investigator, Department Safety Coordinator, Department Safety Committee and EH&S.  Incidents need to be discussed during lab meetings since they can be used to illustrate lessons learned to prevent future incidents.

Examples of lab incidents and near misses that need to be reported:

- Any fire, especially those that require the use of a fire extinguisher or require sounding a fire alarm.

- Any accident or incident that involved any or combination of the following emergency responders: UofSCPD, Columbia Fire Department, Columbia HazMat, Ambulance and others.

- Accident that results in an injury requiring medical attention.

- Release or spill of a hazardous substance that takes place outside of a fume hood.

- All releases and spills of high hazard substance that requires Standard Operating Procedures.

# Chapter 18. OTHER LAB SAFETY POLICIES AND GUIDELINES

## Facility Installations, Repairs and Modifications

All lab facility installations, repairs and modifications are to be referred to the Department of Facilities by calling (803) 777-9675.  Lab personnel are not allowed to perform any building or facility related installations, repairs and modifications.  This includes but not limited to activities such as wall-mounted cylinder securement, faucet repair, light bulb replacement, electrical outlet installation, wall repair, tile replacement, window repairs, cabinet installations and others.

## Field Research Safety

Field research is broadly defined as scientific research that is conducted off campus. Field research can present a challenge keeping individuals safe in their surroundings. The intent of this document is to establish the minimal roles and responsibilities for all field research personnel and to provide general guidance and resources on field research safety. Other USC policies or procedures may apply.

Roles and Responsibilities

- Principal Investigator (PI)/Academic Supervisor

- Obtain any necessary approvals for research activities if required (e.g. IACUC, IBC, IRB, academic program, department chair, etc.). Consult with Enterprise Risk Management & Insurance (Brian Hann; hann@mailbox.sc.edu, 777-2828) with questions regarding insurance for special field research risks.

- Ensure that everyone is aware of the health and safety risks associated with the specific field research activities. It is highly advisable to have a written field research safety plan that identifies and assesses these risks. If a plan is developed, it should be made accessible to all field research personnel.

- Ensure that appropriate safety equipment (e.g. personal protective equipment, first aid kit, emergency kit, flashlights, etc.) is provided.

- Provide all field research personnel with appropriate safety training and document this training.

- Maintain emergency contact information and have a means for contacting the University and nearby emergency help. All conducting field research should be made aware of the nearest medical facility.

- Ensure that employees are made aware of and follow University incident reporting requirements in the event of an accident or incident. Refer to Human Resources’ website for more guidance.

- Field Team Leader/Supervisor (if different from PI)

- Maintain regular contact with PI regarding research activities and immediately inform them of any accidents, illnesses, or emergencies. Avoid conducting field research alone whenever possible.

- Implement safety protocols or plans while research is being conducted.

- Appropriately supervise field team in the duties assigned to them.

- Routinely assess risks and investigate safety hazards to ensure health and safety of field team.

- Field Team

- Perform assigned research tasks in a safe manner utilizing precautions communicated during safety training provided by the PI or field team leader.

- Use appropriate protective equipment provided by PI or field supervisor.

- Immediately notify PI or team leader of any accidents/incidents, illnesses, or emergencies.

- Notify PI or team leader of any noted safety hazards or concerns.

Note: Solitary field research conducted in remote locations and in other locations that are inherently dangerous is strongly discouraged. If working alone in these types of locations is deemed necessary, strict reporting and emergency response procedures must be in place.

Potential Hazards and Resources (list not exhaustive)

- Environmental and Physical

Environmental and physical hazards will exist in nearly all field research excursions. They can include, but are not limited to, inclement weather (e.g. thunderstorms), extreme weather (e.g. blizzards, flash floods,  very high temperatures, etc.), high altitudes, rough terrain, and poisonous plants. Researchers should plan ahead and perform risk assessments to identify and become familiar with these hazards.

- Electrical

Electrical gear and equipment used in the field should be examined for potential safety hazards (i.e. frayed or damaged cords, missing ground pins, etc.) prior to the trip and before use in the field. Special care must be taken when using electrical equipment near water or in wet conditions.

- Animals/Wildlife

Dangerous wildlife and pests exist worldwide. If handling wildlife is part of a research project, care must be taken to handle animals in a manner that avoids potential attacks or exposure to diseases. For questions regarding field research involving animals or IACUC approval requirements, consult with Shayne Barlow (barlows@mailbox.sc.edu, 777-8106).

To avoid pests in living spaces/quarters, food items should be stored in closed, plastic or other durable, leak-poof containers. Garbage or anything that could be a source of food for vermin or other pests should be kept away from campsites/living areas. The handling of sick or dead wildlife should be avoided.

- Biological

There is potential for exposure to biological hazards in most outdoor areas. Biological hazards include harmful microorganisms that can cause vector-borne, zoonotic, and waterborne illnesses. Care should be taken in areas that have a high potential for vector-borne illnesses like Zika fever and West Nile fever.

Appropriate clothing and PPE should be worn in such a manner as to avoid exposure to infected insects or animals (e.g. making sure pants are tucked into boots, wearing long sleeves to cover arms, etc.). Insect repellant should be considered as well. Avoid drinking untreated/unfiltered water that could harbor harmful bacteria or other microorganisms that may cause illness. If you have questions pertaining to biological hazards, contact the Biosafety Officer, Mark Robbins (mrobbins@mailbox.sc.edu, 777-4042).

- Chemical

If field research will be conducted using hazardous chemicals, the same precautions in UofSC research labs must be taken in the field. Proper PPE must be worn when handling chemicals. Care must be taken to avoid chemical spills and to minimize the potential for chemicals to enter the environment. Transport of hazardous chemicals and waste disposal must be discussed prior to your research trip. For questions regarding the use of hazardous chemicals in the field, contact Jocelyn Locke (jlocke@mailbox.sc.edu, 777- 7650) or chemical waste questions contact Jeff Brannon (brannonm@mailbox.sc.edu, 777-1935).

- Radiological

Conducting research that involves work deep in the ground (e.g. salt mines) could expose workers to higher than normal levels of naturally-occurring radioactive sources (e.g. radon and other naturally occurring radioactive material in the ground and sea.). If radioactive content will be collected and concentrated from soil or earth materials as part of a research project, or if research involves the use of any ionizing or non-ionizing radiation source (e.g. any form of a radioactive material or source, lasers and other hazardous forms of light), the Radiation Safety Office must be notified prior to the field work (777- 7530 or radsafe@mailbox.sc.edu). For questions about any radiological hazards you may encounter in the field, contact the University’s Radiation Safety Officer, Bryan Bagg (bagg@mailbox.sc.edu, 777-7530).

Additional Resources                                                 UofSC Resources

CDC Resources for Travelers                                                    Student Health Services Travel Clinic

CDC Traveler’s Health                                                              Study Abroad Office

National Weather Service                                                        Office of Research Compliance

UC Field Research Safety Center of Excellence

US Department of State Travel Advisories

WHO International Travel and Health

# Chapter 19. SELF-INSPECTION SAFETY Checklist

The following checklist summarizes the UofSC policies and guidelines for working safely in the laboratory including proper handling of chemicals and physical hazards. Specific details on these policies and practices are described elsewhere in this document. Refer to your Biosafety Manual and Radiation Safety Manual for guidance on proper handling of biological and radiological agents.

## General Safety

- Lab door is kept locked when unoccupied and after normal business hours of 7:30 AM-5:00 PM.

- Only authorized personnel are allowed to enter and/or perform work in UofSC laboratories. Persons under the age of 18 who are not currently enrolled at UofSC must apply and be approved for volunteer work according to the Policy for Minor in laboratories.

- Only service animals are brought in the lab after consultation with and approval by the Supervisor in charge of the lab and the ADA Office.

- Minimum PPE are required to enter the lab. This includes full coverage shoes, clothes that provide reasonable skin coverage and additional PPE based on hazards and risks in the lab.

- A Group safety officer has been identified and his/her delegated responsibilities have been discussed.

## Facilities

- Floor drain available to direct flow of water from the safety shower during testing and actual use (there is no requirement for floor drains but this information is important to consider when there is potential for flooding in the lab).

- Lab room wall, ceiling, floor, plumbing and electrical utilities, tables, benches and cabinets are in good working condition.

- Chemical fume hood available for use of corrosives, volatile flammable and/or inhalation hazards.

- Room ventilation appear to eliminate chemical fumes and/or odors in the laboratory.

## Hazards and Controls

- All hazards (physical, chemical, biological, radiological, environmental) are identified and control measures put in place.

- All tasks, experiments and materials that are highly hazardous performed or used have prior approval from the Principal Investigator, EH&S, UofSC safety committees (Chemical Safety Committee, IBC and Radiation Safety).

## Documentation and Signage

- The following documents are present in the lab and accessible by all personnel during all work hours: Laboratory Safety Manual and Chemical Hygiene Plan, Lab-specific Information for LSM-CHP, Chemical Inventory, Safety Data Sheet, Standard Operating Procedures for use of highly hazardous materials, equipment and processes.

- The above documents are updated as research activities change.

- The following signage are posted in the lab: Lab Hazard Notice, Emergency procedures for fire, chemical spill, chemical exposure, designated area for work with highly hazardous chemicals, equipment and processes, and unattended operations, equipment and or procedure.

## Training

- All lab personnel have completed all required EH&S trainings (Chemical and Lab Safety, Haz Waste, Biosafety, Rad Safety) and lab-specific trainings prior to performing independent work in the laboratory and periodically thereafter as required.

## Emergency Preparedness and REsponse

- A written lab emergency procedure for fire, chemical spill, chemical exposure, and others is posted by the exit door, bulletin boards and other prominent location in the laboratory.

- Lab personnel are trained on how to implement the emergency procedures.

- Lab personnel knowledgeable on building emergency procedure including but not limited to evacuation routes, assembly points, areas of refuge, laboratory shutdown and responsibilities in case an emergency evacuation occur.

- Lab personnel are aware of the location and function of safety equipment.

- Accidents and near misses are reported to EH&S using the EH&S Incident forms.

- Location of personal protective equipment and safety equipment (first aid kit, chemical spill kit, fire extinguisher, emergency shower, emergency eyewash) either are conspicuously labeled.

## Fire Safety

- Walkways and egress paths unobstructed, and exits clearly marked in and within the vicinity of the laboratory?

- Portable fire extinguisher available, mounted by exit door, unobstructed, checked monthly and monthly checks documented on the hangtag.

- Emergency lighting available and comes on to light the egress areas when power goes out.

- Flammable chemicals and other combustible materials (paper, cardboard) are minimized in the laboratory.

## Basic Chemical Safety

- Lab workers follow written Standard Operating Procedures for all hazardous tasks, experiments and/or materials.

- Gloves for hand protection are available, in good condition, and suitable for specific hazardous chemicals and other hazards handled in the lab (e.g., latex, nitrile, leather, cryogen, autoclave)

- PPE for eye and face protection are available, in good condition and suitable for specific hazardous materials handled in the lab (e.g., safety glasses, safety goggles, face shield, UV shield).

- Lab coats available, in good condition and suitable for the hazardous materials being handled.

- Chemical resistant splash apron is available and in good condition for handling corrosives.

- Suitable PPE are used when handling hazardous chemicals and removed before leaving the lab and entering non-laboratory areas in the building.

- Appropriate ear protection is available for protection against unusually loud equipment and/or procedures.

- If a respirator/s is/are needed for specific tasks, the user is registered in the EH&S Respiratory Protection program and has been medically cleared and fit tested to use the respirators.

- Chemical spills are cleaned up immediately and completely. Laboratory is free of any sign of release/spill of chemicals.

## Work Practice and Hygiene

- Lab workers do not work alone in the lab as a rule.

- Special permission from the PI is required when working with highly hazardous materials and tasks outside of normal business hours.  Special guidelines are followed.

- Laboratory is kept clean and clutter free. A 28” egress requirement is maintained.

- Food and drink are not stored and/or consumed in the laboratory.

- Home-type appliances such as microwaves, refrigerators, freezers, ice machines and others designated and labeled "for lab use only".

- Human food items used for research are designated and labeled "for lab use only".

- Personal protective equipment are removed before leaving the lab.

- Designated computer or office work stations are away from hazards.

- Work areas for use and/or storage of highly hazardous materials and procedures are designated and labeled.

- Unattended operations are stable and protected from outside disturbances such as water or power outage?

Mechanical pipetting devices are available and used in lieu of mouth pipetting.

- Lab personnel work with a buddy outside of regular office hours.

- Tripping hazards such as electrical cords, gas lines, etc., are properly covered and/or barricaded.

- Work benches, sinks, other work areas, walkways generally clean and clutter-free.

## Safety Equipment

- Minimum required safety equipment are present in the lab: fire extinguisher, emergency shower, emergency eyewash, chemical spill kit and first aid kit.  They clearly labeled/easy to locate and periodically maintained, and are in functional condition.

- Eyewash is available within 50 ft or 10 seconds travel.

- Emergency shower is available within 50 ft or 10 seconds travel.

- Path to the eyewash and safety shower clear and free of obstruction?

- Spill kit is fully stocked and current (chemical components not expired).

- First-aid kit is fully stocked and current (chemical components not expired).

## Electrical

- If an electrical panel box is present in the laboratory, panel is locked and is there a 3- ft clearance around it.

- Circuit panels, electrical outlets and receptacles covered.

- GFCI outlets are installed around sinks and other areas where water is used.

- Large appliances and high amperage equipment are plugged into individual wall outlets, not extension cords and power strips.

- Experimental set-ups and all electrical equipment are free of electrocution hazard.

- Electrical wires from extension cords are visible and not run behind ceiling tiles, under carpets, etc.

## General Chemical Handling

- Chemicals are segregated based on compatibility.

- Hazardous chemicals are stored below shoulder level but not on the floor.

- Chemicals are stored in appropriate cabinets with secured shelving.

- Flammables stored in appropriate fire-rated cabinets or flammable-safe refrigerator or freezer.

- Chemicals are kept in capped, sealed leak-proof containers and stored upright.

- Original containers labels are intact and readable.

- Containers of solutions and mixtures are labeled with identity of chemicals and associated hazard.

- Amount of each chemical is reasonable for research needs.

- Cabinets used to store hazardous chemicals are labeled.

- Storage areas/cabinets are labeled according to the type of chemical family or hazard classification found there.

- Storage areas are inspected at least every 6 months.

- Storage areas well lit, ventilated as needed, and at a consistent, cool temperature.

- Storage areas are away from open flames, heat sources, or direct sunlight.

- Appropriate fire extinguishers for hazardous chemicals are handy and in good working order.

- Storage areas are confined so that that leaks or spills are controlled.

- Chemical spills and drips are cleaned up immediately.

- Chemicals are not stored in cabinets under the sink.

- Chemicals are not stored in the fume hood except hazardous gases that need to be stored and used in dedicated hoods.

- Chemicals are not stored on the floor, window ledges, or ceiling.  Large bottles/containers are stored no higher than 2 feet from the floor.

- Storage cabinets are appropriate for the hazards of the chemicals stored in them.

- Storage shelves are level, stable, and secured to the wall or another stable surface, and have raised edges or rim guards.

- Containers are not protruding over shelf edges.

- Store corrosives on lower shelves.

- Storage Containers

- Keep containers closed unless you are dispensing a chemical or adding to the container.

- Never store a container open with a funnel in it.

- Provide secondary containment for liquids in containers larger than 1 gallon in size.

- Dishpans or polyethylene trays work well. Use approved containers for flammable solvents

## Chemical Fume hood

- Newly installed fume hood was ASHRAE 110 certified by a third party after installation.

- Fume hood is certified by EH&S within the last 12 months or after a recent repair.

- Fume hood airflow is within 80-150 lfm.

- Fume hood is free of stored unnecessary items.

- Fume hood sash is clear and in good condition.

- Fume hood side panels are intact.

- Fume hood airfoil and baffle openings are free of obstruction.

- Fume hood lighting is in good working condition.

- Fume hood alarm, if present, is in good working condition.

- Fume hood sash height is at 18” or below when used and closed when not in use.

- Fume hood work surface is clean and free of chemical spill.

- Portable non-ducted fume hood is third party certified, properly used and maintained.

## Highly Hazardous Chemicals

| Hazardous material | Controls implemented |
| --- | --- |
| Compressed gases | Is gas cylinder secured? Is gas cylinder capped if no regulator is attached? Is gas cylinder labeled? Are gas valves and connections leak tested and leak free? Is gas cylinder transported with cylinder cart? Is gas cylinder located away from high traffic areas, doorways, electrical sources, heat sources? Are gas cylinders segregated by chemical compatibility? Is cylinder hydrostatic test current? Are old gas cylinders disposed of properly or returned to the vendor? Are gas lines clearly labeled from point of source to end of use? Are blow guns/gas nozzles used for cleaning and other approved purposes regulated at 30 psi or below? Are gas cabinets labeled? Are cylinders that are not in use (not connected to a system/process) have their regulators removed and the cylinder capped? Are gas lines/tubings visible from source to point of use and not hidden behind walls, ceiling tiles and other obstruction? |
| Toxic gases | Is the amount of gas reasonable for the procedure so that the IFC's MAQ for highly toxic gases is not exceeded in the control are where the lab is located? Is highly toxic gas concentration reasonable for lab procedure? Is cylinder of highly toxic gas secured, stored and dispensed in ventilated, sprinklered gas cabinet or chemical fume hood? Is gas specific detector installed at point of release and point of use, and calibrated bi-annually or as recommended by the manufacturer? Is gas detection system for highly toxic gas attached to fire alarm system that is monitored 24 hours a day? Is written SOP for use of highly toxic gas available, approved by PI and signed by authorized users? Are authorized users of highly toxic gases trained on safe handling of compressed gases, cylinder change-out and specific SOPs? Are their trainings documented? Is written SOP for cylinder change-out available and followed? |
| Flammable gases | Is written SOP for use of flammable gas established? Are non-sparking tools available for cylinder change-out? Is gas cylinder in appropriate location? Are tubing used appropriate for the type of gas and rated for the pressure by which the gas is being dispensed from the cylinder? |
| Corrosive gases | Is written SOP for use of corrosive gas established? Is corrosive gas stored/used inside a ventilated enclosure such as a fume hood or gas cabinet? Is a gas sensor and alarm system installed to detect accidental release of corrosive gas? Are gas lines for corrosive gas free of signs of corrosion? |
| Pyrophorics | Is written SOP for use of pyrophoric liquid available, signed and implemented? Are authorized users of pyrophoric liquid trained on safe handling of pyrophoric liquid and their training documented? Is flame resistant clothing and flame resistant lab coat available and used when handling pyrophoric liquid? |
| HF | Is calcium gluconate gel and calcium gluconate eyewash (if applicable) available and not expired? Is neoprene gloves, tyvek suit, acid resistant apron, acid resistant shoe cover, face shield available? Is HF signage posted in HF work area? Is written HF SOP available, and signed by PI and authorized users? Is HF-specific procedure and safety training of authorized users performed and documented? Is HF spill kit available? Is amount and/or concentration of HF on hand reasonable for research needs? Is HF, when stored with other compatible acids, stored in secondary containment, clearly labeled and separated from other containers in the cabinet as far as possible? |
| Cryogen | Is cryogen tank/dewar stored in a well-ventilated area? Is oxygen monitor available where cryogen tanks are stored in a room with unreliable ventilation? Are required PPE (cryogen gloves, face shield) available and used when handling cryogens? Are necessary precautions observed so that the potential for oxygen displacement is minimized when transferring liquid nitrogen inside a confined space or a small room? |
| Peroxide formers | Do containers of peroxide formers indicate date of receipt and date opened? Are peroxide formers discarded according to their expected shelf-life and ability to form peroxides? Is inhibited counterpart of the peroxide former purchased if available and usable? If peroxide testing is performed, are testing results clearly documented in a logbook or on the container? |
| Flammable liquids in 5 gal or bigger container | Is solvent pump available and used for dispensing from large flammable liquid containers? Is 55-gal drum containing flammable liquid properly grounded and bonded? Is volume of flammable below the maximum allowable quantity within the control area? |
| Emits flammable gas | Is a class D fire extinguisher available in the lab? |

# REFERENCES AND GLOSSARY

- Prudent Practices in the Laboratory

- OSHA Laboratory Safety Guidance [pdf]

- NIOSH Pocket Guide to Chemical Hazards

- NIOSH School Chemistry Laboratory Safety Guide

- ACS Identifying and Evaluating Hazards in Research Laboratories [pdf]

- ACS Hazard Assessment in Research Laboratories

- CDC Managing Health and Safety Concerns Associated with Engineered Nanomaterials

- Handbook of Compressed Gases (5th Edition), Compressed Gas Association, Inc. 2013. Chantilly, VA.

- A comprehensive guide to the hazardous properties of Chemical Substances (3rd Edition), Pradyot Patnaik, 2013. John Wiley and Sons. Inc. Hoboken, NJ.

- Bretherick’s Handbook of Reactive Chemical Hazards (7th Edition). P. G. Urben and M. J. Pitt. 2007. Elsevier, Ltd. San Diego, CA.

- The Sigma-Aldrich Library of Chemical Safety Data (2nd ed.), R. E. Lenga, Ed., 2 volumes, 1988. (This 4,098-page work provides information on the properties of over 14,000 compounds. Toxicity data, health hazards, and suggested methods of first aid, handling, storage, and waste disposal are also included).

- Handbook of Laboratory Safety (3rd ed.), A. K. Furr, Ed., 1989 (704 page reference on all aspects of lab safety).

- Prudent Practices for Handling Hazardous Chemicals in Laboratories, prepared by the National Research Council, National Academy Press, Washington, D.C., 1981 (available from the National Academy Press, 2101 Constitution Ave., N.W., Washington, D.C. 20418, 291 pages).

- Chemical Hazards of the Workplace (2nd ed.), N. H. Proctor, J. P. Hughes, and M. L. Fischman, 1988. (573 pages; includes fairly detailed discussions of the toxicology of 438 hazardous substances).

- Safety in the Chemical Laboratory, Edited by N. V. Steere and M. M. Renfrew, 4 volumes, 1967-1981 (collection of articles from the "Safety in the Chemical Laboratory" feature of the Journal of Chemical Education).

- Prudent Practices for Disposal of Chemicals from Laboratories, prepared by the National Research Council, National Academy Press, Washington, D.C., 1983 (available from the National Academy Press, 2101 Constitution Ave., N.W., Washington, D.C. 20418; 282 pages).

- Rapid Guide to Hazardous Chemicals in the Workplace (2nd ed.), R. J. Lewis, Ed., 1990 (concise compilation of properties and safety data such as PELs, TLVs, etc. for 800 substances).

- M.-A. Armour, L. M. Browne, and G. L. Weir, "Hazardous Laboratory Chemicals Disposal Guide," CRC Press, Inc., Boca Raton, FL, 1990. [ISBN 0-8493-0265-X].

- R. E. Beyler, and V. K. Meyers, "What Every Chemist Should Know About Teratogens", J. Chem. Ed. 1982, 59, 759-763.

- Bretherick, Handbook of Reactive Chemical Hazards, 3rd ed., Butterworth, Boston, MA 1985.

- Castegnaro and E. B. Sansone, Eds., Chemical Carcinogens: Some Guidelines for Handling and Disposal in the Laboratory, Springer-Verlag, NY, 1986.

- Raymond J. Colvin, "The Guidebook to Successful Safety Programming," Lewis Publishers, Inc., Boca Ration, FL., 1992. [ISBN 0-87371-481-4].

- Keith Furr, Ed., CRC Handbook of Laboratory Safety, 3rd ed., CRC Press, Boca Raton, FL, 1989.[ISBN 0-8493-0353-2].

- James A. Kaufman, Ed., "Waste Disposal in Academic Institutions," Lewis Publishers, Inc., Chelsea, MI, 1990. [ISBN 0-87371-256-0].

- Marc J. Lefevre, "First Aid Manual for Chemical Accidents for Use with Nonpharmaceutical Chemicals," Dowden, Hutchinson, & Ross, Inc., Stroudsburg, PA. 1980 [ISBN 0-87933-336-7].

- R. E. Lenga, Ed., The Sigma-Aldrich Library of Chemical Safety Data, 2nd ed., 2 volumes, 1988.

- R. J. Lewis, Ed., Rapid Guide to Hazardous Chemicals in the Workplace, 2nd ed., 1990.

- Lunn and E. B. Sansone, Destruction of Hazardous Chemicals in the Laboratory, 1990.

- Manufacturing Chemists Association, "Guide to Safety in the Chemical Laboratory", 2nd ed., Van Nostrand Reinhold Company, NY, 1972. [ISBN 0-442-05667-2].

- Eugene Meyer, "Chemistry of Hazardous Materials," Prentice-Hall, Inc., Englewood Cliffs, NJ, 1977.

- W. G. Mikell and W. C. Drinkard, "Good Practices for Hood Use", J. Chem. Ed. 1984, 61.

- W. G. Mikell and F. H. Fuller. "Good Hood Practices for Safe Hood Operation", J. Chem. Ed., 1988, 65, A36.

- D. Muir, Ed., Hazards in the Chemical Laboratory, The Chemical Society, London, 1977. [ISBN 0-85186-699-9].

- National Fire Protection Association, Fire Protection Guide on Hazardous Materials, 4th ed., National Fire Protection Association International, 60 Batterymarch St., Boston, MA 02110, 1972.

- National Fire Protection Association, Fire Protection for Laboratories Using Chemicals, NFPA 45-1986, Quincy, MA, 1982.

- NIH Biohazards Safety Guide, U. S. Department of Health, Education, and Welfare, Washington, DC, 1974.

- National Research Council, Committee on Hazardous Substances in the Laboratory, Prudent Practices for Handling Hazardous Chemicals in Laboratories, National Academy Press, Washington, DC, 1981.

- National Research Council, Prudent Practices for Disposal of Chemicals from Laboratories, National Academy Press, 2101 Constitution Ave., N.W., Washington, D.C. 20418, 1983.

- Occupational Safety and Health Administration, United States Department of Labor, "Occupational Safety and Health Standards for General Industry (29 CFR Part 1910)", Commerce Clearing House, Inc., Chicago. IL.

- A. Pipetone and D. D. Hedberg, "The function of chemical storage", J. Chem. Ed. 1982, 59, A159.

- N. H. Proctor, J. P. Hughes, and M. L. Fischman, Chemical Hazards of the Workplace, 2nd ed., J. P. Lippincott Company, Phila., PA, 1988.

- N. Sax, Dangerous Properties of Industrial Materials, 6th ed., Van Nostrand Rheinhold Company, NY, 1984.

- T. H. Shepard, Catalog of Teratogenic Agents, Sixth Edition; Johns Hopkins University Press, Baltimore, 1989.

- Norman V. Steere, Ed., Handbook of Laboratory Safety, 2nd ed., The Chemical Rubber Company, Cleveland, OH, 1971.

- N. V. Steere and M. M. Renfrew, Ed., Safety in the Chemical Laboratory, 4 volumes, 1967-1981 (collection of articles from the "Safety in the Chemical Laboratory" feature of the Journal of Chemical Education).

- R. Scott Stricoff and Douglas B. Walters, Laboratory Health and Safety Handbook: A Guide for the Preparation of a Chemical Hygiene Plan, John Wiley, NY, 1990. [ISBN 0-471-61756-3].

- Toxic and Hazardous Industrial Chemicals Safety Manual for Handling and Disposal with Toxicity and Hazard Data, the International Technical Information Institute, Tokyo, Japan, 1988.

- A. Young, Improving Safety in the Chemical Laboratory, Ed., John Wiley, NY, 1

GLOSSARY

ACGIH American Conference of Government Industrial Hygienists. Publishes "TLV's, Threshold Limit Values for Chemical Substances in Workroom Air Adopted by ACGIH for 1979," ACGIH, Cincinnati, OH, 1979.

Acute An adverse effect or injury to health that occurs immediately or shortly after a single or short term exposure to a material or condition.

Cancer Uncontrolled tissue growth resulting in formation of malignant tumors.

Carcinogen A substance capable of causing cancer.

CFR Code of Federal Registry.

Chronic An adverse effect, injury, or illness with symptoms that develop after long term exposure to a material or condition.

Combustible Able to catch fire and burn.

Corrosive chemicals Chemicals that are capable of causing damage to skin, eyes and respiratory epithelium by contact with the chemicals or its vapors.

Developmental hazard An agent that interferes with the development of an individual before or after birth.

Embryotoxic A substance that is poisonous to the unborn organism or fetus.

Environmental monitoring The measuring of concentrations of airborne hazardous substances.

Flammable Capable of being easily ignited and of burning.

Highly toxic A chemical that has an: LD50 by ingestion of more than 50 mg/Kg or less; LD50 by contact of more than 200 mg/Kg or less; LC50 by inhalation of 200 ppm or less, or 2 mg/liter or less.

Irritant A chemical that causes a reversible inflammatory effect on living tissues by chemical action at the site of contact.

Laboratory A work place where relatively small quantities of chemicals are being used on a non-production basis.

Laboratory Scale Work with chemicals that can easily and safely manipulated by one person.

LC50 (Lethal Concentration 50%) The concentration of a substance that causes death in 50% of the animals exposed.

LD50 ( Lethal Dose 50%) The dose that causes death in 50% of the animals exposed.

MSDS Material Safety Data Sheet

Mutagen A substance capable of changing cells in such a way that future cells generated are affected.

NEC National Electrical Code.

NFPA National Fire Protection Association

OSHA Occupational Safety and Health Administration, the regulatory branch of the department of labor concerned with employee safety and health.

PEL Permissible Exposure Limit. The allowable concentration in the work place that is considered a safe level of exposure for eight hour shift, 40 hours per week.

pH A measure of how acidic or basic a substances is on a scale of 1 being the most acidic to 14 being the most basic.

Sensitizers Agents that can cause an allergic reaction with repeated exposure over time.

Sterility Changes made in male or female reproductive systems resulting in the inability to reproduce.

Teratogen A substance that causes a deformity in fetal growth if significant exposure exist during pregnancy.

TLV or TWA Threshold Limit Value or Time Weighed Average. The amount of exposure allowable for an employee in an eight hour work d

# Text boxes

Chemical and Lab Safety Program

Environmental Health and Safety

226 Bull St

Columbia SC 29208

(803) 777-7650

Date last revised: May 17, 2022

Tamper seal (red plastic string)

Pin (Silver)

Pressure gauge

Hangtag

Nozzle

Materials